
Network Alarm Panel

 Quick Start Guide 
Version 1.0.0
Table of Contents

11
FEATURES AND SPECIFICATIONS


11.1
Overview


11.2
Features


11.3
Mainboard Ports


32
INSTALLATION


32.1
Project Installation


32.2
Tamper Switch Installation


53
Installation and Connections


53.1
Mainboard Connections


53.2
Detector Cable Connection


63.3
Alarm Output Connection


7Appendix Toxic or Hazardous Materials or Elements




Welcome
Thank you for purchasing our network alarm panel!

This quick start guide will help you become familiar with our alarm panel in a very short time.

Before installation and operation, please read the following safeguard and warning carefully!

Important Safeguard and Warning
1．Electrical safety

All installation and operation here should conform to your local electrical safety codes. 

The product must be grounded to reduce the risk of electric shock.
We assume no liability or responsibility for all the fires or electric shock caused by improper handling or installation. 

2．Transportation security

Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3．Installation

Keep upwards. Handle with care. 

Do not apply power to the alarm panel before completing installation. 

Do not place objects on the alarm panel.
4．Qualified engineers needed


All the examination and repair work should be done by the qualified service engineers.  

We are not liable for any problems caused by unauthorized modifications or attempted repair.

5．Environment

The alarm panel should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc.

This series product shall be transported, storage and used in the specified environment.
6.  Accessories

Be sure to use all the accessories recommended by manufacturer.

Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.
1 FEATURES AND SPECIFICATIONS

1.1 Overview

This series product integrates on-off alarm signal input and output, IP network, GPRS data transmission and etc. It can connect to the DVR to realize systematical design. 
It is mainly used in many environments such as intelligent building, residential district, perimeter, house, store, warehouse, and small office. 

1.2 Features
This series product has the following features:

· Support IP network, GRPS network, PSTN network to upload alarm information.
· 10/100Mbps self-adaptive Ethernet port. 
· 24H arm zone, realtime arm zone, delay arm zone. 
· 8-channel local alarm input and 4-channel local alarm output. 1-channel siren output(DC 12V)

· Peripheral lead-acid battery.
· Remote user control, events search.

· Support wireless module.

· Support 5000 logs.

· Programming keyboard operation.
· Support extension module.

1.3 Mainboard Ports

The mainboard ports interface is shown as below. See Figure 1‑1.
[image: image1.png]12 Network Alarm Panel
|

©) © ‘/”\ Wireless P \‘
. 1 {(O) Alarm r\QJ
‘ ~ Module

2G Module S
I |
=~ ) Caution! Please shut down the device and then unplug the power Warning!

< - - - -~ cable before you operate!
All the cable connections here shall be

operated by the qualified engineer!
Improper cable connection may result
in system malfunction or damage!

Phone User Cable LAN Power Supplying
Port  Port Port

- NMm 40
NONNONN

TIP

TIP
RING

°
°
Te
|y
e
*

D
T—o
—y
Y
—
sy
iy
.

0

.

tlririslslelelrlelrlelel|elslelelelelrlele[els
LWL L LT LI e e W e

AIlEOL are 2.2K Ohm. | Sien Siren Siren Siren

I
1 2

7 8 9 10

Caution! Note
All load current of the siren or 1.Before you begin the maintenance work, please shut down
the keyboard shall be less the device and unplug all power cable, phone port connection
than 1000mA. and etc.
2. Please make sure the device is properly earthed! We

assume no liability or responsibility for all the fires or electric
shock resulting from improper earth!

Power Supplying

1.Recommended accumulator: 12V DC, 7AH lead-acid
battery.

2. Please replace the recommended the lead-acid battery
each 3-5 year.

3. The total power supplying current of the siren, keyboard
and etc shall be less than the max power consumption of
the alarm panel.





Figure 1‑1
Please refer to the following sheet for detailed information. 

	SN
	Name
	Note

	1
	Alarm input port 
	8-channel alarm input. 
G is the public end. 
Z1-Z8 is the zone input.

	2
	Alarm output port
	4-channel alarm output

	3
	RS485 port
	A1B1 connect to the programming keyboard. A2B2 connect to zone extension module. 

	4
	Siren port
	Connect to siren.

	5
	Lead-acid battery port
	12V DC 7AH, lead-acid battery port

	6
	User cable port/Telephone port
	Connect to user cable and telephone. 

	7
	User cable port
	RJ11 user cable port

	8
	Telephone port
	RJ11 telephone port

	9
	LAN
	Ethernet port

	10
	Power supplying port
	Power socket

	11
	Wireless module
	Wireless module

	12
	2G module
	2G module


2 INSTALLATION 
2.1 Project Installation 

This series product supports wall mount installation. Please refer to the steps listed below. 

a) Open the device package and then take out the plastic expansion bolts and self-tapping screw. 

b) Please refer to Figure 2‑1 to dig five holes in the wall. 

c) Input four expansion bolts and then insert four self-tapping screws. DO NOT INSERT THE BOLT TO THE MIDDLE HOLE. 

d) Put the device on the screws and then insert the last self-tapping screw at the middle hole. 

[image: image2.png]245.8

200. 0

270.0

214.5

163. 0





Figure 2‑1
2.2 Tamper Switch Installation 
Before the installation, please prepare the accessories. It includes: tamper switch, three screws and three nuts. 

Open the cover of the device; secure the tamper switch on the device. See Figure 2‑2.

[image: image3.jpg]



Figure 2‑2
Insert the tamper switch to the mainboard. See Figure 2‑3.

[image: image4.png]|®
—_ - |
Af‘r‘-“‘.—-&‘l

@] R268 .

- (@w) c92




  [image: image5.png]



Figure 2‑3
3 Installation and Connections 
3.1 Mainboard Connections 
The interface is shown as in Figure 3‑1.
[image: image6.jpg]Network Alarm Panel

o ‘ Wireless ‘
) I~ N
| ©) Alarm ©)
‘ ~ Module
I
@ Caution! Please shut down the device and then unplug the power Warning!
)

- NM 4D o~
N O NN O NN ORNNO

cable before you operate!

All the cable connections here shall be
operated by the qualified engineer!
Improper cable connection may result
in system malfunction or damage!

L, Phone User Cable LAN Power Supplying
o C 2 s Port  Port Port
+ o 5S o

E;] E} E‘] [

i,y
Yy
°
.
—ry
i,y

All EOL are 2.2K Ohm.

TPILTITITITITITITITIY
llo) L L4 LuL

haadadhddhs b

Siten Siren Siren  Siten

Caution!

Allload current of the siren or
the keyboard shall be less
than 1000mA.

Note
1.Before you begin the maintenance work, please shut down

the device and unplug all power cable, phone port connection
and etc.

2. Please make sure the device is properly earthed! We

Power Supplying

assume no liability or responsibility for all the fires or electric
shock resulting from improper earth!

1.Recommended accumulator: 12V DC, 7AH lead-acid

battery.

2. Please replace the recommended the lead-acid battery

each 3-5 year.

3. The total power supplying current of the siren, keyboard
and etc shall be less than the max power consumption of

the alarm panel.





Figure 3‑1
3.2 Detector Cable Connection 
Please refer to the following figure for detailed information. See Figure 3‑2.

[image: image7.png]Alarm Alarm

Peripheral Detectors Peripheral Detectors

Panel Panel
CCT T T T T, [
| | : |
z N | i £ NO 1
12.2kQ [ ! I
! | I 2.2kQ |
| | ! |
@ I ] : 6l— G !
| | ! |
| | ! |
| | | |





Figure 3‑2
3.3 Alarm Output Connection 

Please refer to the following figure for detailed information. See Figure 3‑3.
[image: image8.png]DC 12V

NO/NC

Circuit Breaker
COM Peripheral Devices

O ®

Peripheral DC Load





Figure 3‑3
Appendix Toxic or Hazardous Materials or Elements
	Component Name
	Toxic or Hazardous Materials or Elements

	
	Pb
	Hg
	Cd
	Cr VI
	PBB
	PBDE

	Sheet Metal(Case)
	○
	○
	○
	○
	○
	○

	Plastic Parts（Panel）
	○
	○
	○
	○
	○
	○

	Circuit Board
	○
	○
	○
	○
	○
	○

	Fastener
	○
	○
	○
	○
	○
	○

	Wire and Cable/AC Adapter
	○
	○
	○
	○
	○
	○

	Packing Material
	○
	○
	○
	○
	○
	○

	Accessories
	○
	○
	○
	○
	○
	○


Note

O: Indicates that the concentration of the hazardous substance in all homogeneous materials in the parts is below the relevant threshold of the SJ/T11363-2006 standard.
X: Indicates that the concentration of the hazardous substance of at least one of all homogeneous materials in the parts is above the relevant threshold of the SJ/T11363-2006 standard. During the environmental-friendly use period (EFUP) period, the toxic or hazardous substance or elements contained in products will not leak or mutate so that the use of these (substances or elements) will not result in any severe environmental pollution, any bodily injury or damage to any assets.  The consumer is not authorized to process such kind of substances or elements, please return to the corresponding local authorities to process according to your local government statutes.
Note

· For detailed operation introduction, please refer to our resource CD included in your package for electronic version of the User’s Manual.
· Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice.
· All trademarks and registered trademarks mentioned are the properties of their respective owners.
· If there is any uncertainty or controversy, please refer to the final explanation of us.
· Please visit our website for more information.





























































































































































































































































































































































































PAGE  
ii

