
Network Video Alarm Panel
 Quick Start Guide 
Version 1.0.0
Table of Contents

11
FEATURES AND SPECIFICATIONS


11.1
Overview


11.2
Features


22
INSTALLATION


22.1
Project Installation


22.2
Tamper Switch Installation


43
STRUCTURE


43.1
Mainboard


53.2
Remote Control


53.3
Connection Sample


94
OVERVIEW OF NAVIGATION AND CONTROLS


94.1
Login & Logout


104.2
Network


124.3
Zone


154.4
Remote


164.5
Abnormality


174.6
Arm/Disarm


184.7
Bell Output


184.8
Zone Status


194.9
Broadcast


215
WEB OPERATION


215.1
Network Connection


215.2
Login


225.3
LAN Mode


235.4
WAN Login


246
KEYBOARD OPERATION


246.1
Alarm Keyboard Operation Code


246.2
Alarm Keyboard Special Operations


256.3
Alarm keyboard global mode


266.4
Alarm keyboard Programming Mode


296.5
Alarm Keyboard Search Mode


36Appendix Toxic or Hazardous Materials or Elements




Welcome
Thank you for purchasing our network video alarm panel!

This quick start guide will help you become familiar with our network video alarm panel in a very short time.

Before installation and operation, please read the following safeguard and warning carefully!

Important Safeguard and Warning
1．Electrical safety

All installation and operation here should conform to your local electrical safety codes. 

The product must be grounded to reduce the risk of electric shock.

We assume no liability or responsibility for all the fires or electric shock caused by improper handling or installation. 

2．Transportation security

Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3．Installation

Keep upwards. Handle with care. 

Do not apply power to the alarm panel before completing installation. 

Do not place objects on the alarm panel.
4．Qualified engineers needed


All the examination and repair work should be done by the qualified service engineers.  

We are not liable for any problems caused by unauthorized modifications or attempted repair.

5．Environment

The alarm panel should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc.

This series product shall be transported, storage and used in the environment ranging from -10℃ to 55 ℃.
6.  Accessories

Be sure to use all the accessories recommended by manufacturer.

Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.
Before Start 
About Alarm System 

For the alarm system consists of the network alarm panel, though it has stable and reliable performance, it may become null in the following situations:

· The protection zone the intruder entering has not enabled the arm function or the intruder has enough knowledge to disable the system. 

· The siren device installation position is not right; it does not have the warning function. 

· The detector is null when there is an alarm outage and etc. 

· The detector is not in the proper position and can not detect the corresponding zone. 

· System can not generate an alarm when there is something wrong with the alarm signal transmission system (the service is disabled, there is malicious attack and etc).

· The device is null resulting from non-schedule maintenance of the alarm system. 

About Installation Notice 

· The installation engineers are recommended to check the system regularly such as once a month. It is to guarantee system long-term stable operation. 

· The installation engineers are recommended to test the system regularly such as once a week. 

· Please arrange some training classes for the end-user. It is to keep them familiar with the system. 
System Test Notice 

· After the installation, you can connect to the AC/DC power to test.

· You can test the all functions of the alarm panel after you complete all programming work. 

1 FEATURES AND SPECIFICATIONS

1.1 Overview

This series product is a network video alarm panel of multiple functions. It integrates on-off alarm input and output, and digital video, analog video process at the same time. It supports protection zone alarm, wireless remote arm/disarm, keyboard arm/disarm, emergency alarm, video preview authority management, alarm can trigger pop-up video for you to recheck, video alarm and etc. It can be used in many environments such as bank, school, store, residential district. It can perfectly work with the alarm and surveillance solutions when there is an alarm operation and management platform. 
1.2 Features
This series product has the following features:

· 8-channel on-off alarm input. 

· 4-channel on-off alarm output. 

· 1-channel controlled siren (DC12V 500MA) output. 

· Local max supports 8-channel video input (960H) or max 8-channel digital video input (720P), support dual streams. 

· Support video preview right management. 

· Protection alarm can trigger real-time video for you to recheck alarm status.
· Motion detect, video loss, video tampering function. 

· The protection alarm can trigger alarm output, siren output. 

· Support various resolutions such as 960H/D1/HD1/2CIF/CIF/QCIF, support customized frame rate and bit stream setup. 
· Support two 4T HDDs, support local record storage and playback. 

· Support ContactID alarm output, support reuse the phone. 

· Support device tamper switch alarm prompt. 

· Support one installer user, one main user and 98 operation users. 

· Three data transmission modes: network transmission, 3G transmission, phone cable transmission. 

· 1024 CID report buffer. 

· 5000 alarm event record with date information. 

· 16 alarm programming LED keyboard.
· 8 wireless remote control arm/disarm and emergency alarm. 

· 2 RS485 ports: 1 channel supports PTZ and the other channel supports alarm programming keyboard. 

· 1-channel 12V 2A assistant power output. 

· External assistant power (Standard accumulator), auto recharge control, power off protection, monitor real-time voltage. 

· Main/assistant power auto switch.
· Support firmware update.
2 INSTALLATION 
2.1 Project Installation 

This series product supports wall mount installation. Please refer to the steps listed below. 

a) Open the device package and then take out the plastic expansion bolts and self-tapping screw. 

b) Please refer to Figure 2‑1 to dig five holes in the wall. 

c) Input four expansion bolts and then insert four self-tapping screws. DO NOT INSERT THE BOLT TO THE MIDDLE HOLE. 

d) Put the device on the screws and then insert the last self-tapping screw at the middle hole. 

[image: image1.emf]
Figure 2‑1
2.2 Tamper Switch Installation 

Before the installation, please prepare the accessories. It includes: tamper switch, three screws and three nuts. 

Open the cover of the device; secure the tamper switch on the device. See Figure 2‑2.

[image: image2.jpg]



Figure 2‑2
Insert the tamper switch to the main board. See Figure 2‑3
[image: image3.png]04460
94V-0



  [image: image4.png]



Figure 2‑3
3 STRUCTURE 
3.1 Mainboard 

The interface is shown as in Figure 3‑1.

[image: image5.jpg](

@ 3G Module
@ SIM
Card Slot

433 Module (O) @

Py ?

P
L |

Bidirectional Talk Output/Audio Output

Bidirectional Talk Input

Phone

Phone Cable

TIP1
TIP RING

Phone Module

RING1

@)

— L]

[

71 G

@)

—_—
72 13 G 24 I5 G

EERO| @@@@r‘@ (o] [e][e][e][e]|[e]

| " oG

VGA

QO

USB Network Port

Caution!

Shut down the device and unplug the
power cable before you operate!

Z6 27 G 28 NO4 C4 NO3 C3 NO2 C2 NO1 C1 A3 B3

or—Yo

HDMI Tamper Switch

Warning !

All the cable connection here shall be
operated by the qualified service
engineer ! mFrpper cable connec-
tion may result in system malfunction
or damage!

A2 B2 Al Bl +12V G BELL G VBAT G

O

@
@l

~

Power Input

O | o] O [el[[e] [][e]|[e][e]|[e][e] [e][e][elle]ele] O [OCIelel elellellelelel @)
Ll Lo L ,. Lol i [emz ] 5% ui]Lead-acid
vEowy 5w a9 880 g I battery

SATA HDD Port @

tail circuit resistance 2.2K

2.2K=Z71-7Z8 connect to detector,

©)

—

—_— |
Alarm Lamp @ Alarm Keyboard@ Siren @ @

Video
Input




Figure 3‑1
Please refer to the following sheet for detailed information.

	SN
	Name 
	Function 

	1
	SATA HDD Port
	Support SATA HDD

	2
	Alarm input port 
	8-channel alarm input. 
G is the public end. 
Z1～Z8 is protection zone input. 

	3
	Alarm output port 
	4-channel alarm output

	4
	RS485 port 
	A1B1 connect to the PTZ. 
A3B3 +12V G connect to the alarm programming keyboard. 

	5
	Siren port
	Connect to siren.

	6
	Accumulator port 
	Connect to 12V DC 7AH，Lead-acid accumulator.

	7
	Video input port 
	8-channel video input.

	8
	Video output port 
	BNC video output.

	9
	Audio input port 
	4-channel audio input.

	10
	Bidirectional talk port 
	Bidirectional talk. 

	11
	Audio output port 
	BNC audio output. Bidirectional talk output. 

	12
	Tamper switch 
	Connect to tamper switch

	13
	HDMI port 
	HDMI port. Connect to LCD and etc. 

	14
	VGA port 
	Connect to VGA monitor 

	15
	LAN
	Ethernet port. 

	16
	USB port 
	Support mouse. 

	17
	433 module
	Connect to wireless alarm module. 

	18
	User cable port/phone port 
	Connect to user cable and phone. 

	19
	3G card slot
	Support 3G module

	20
	SIM card slot 
	Support SIM card

	21
	Power socket 
	Power supplying 


3.2 Remote Control 

The remote control is shown as below. See Figure 3‑2.
[image: image6.png]Total Arm/Out Arm
Disarm

AtHome Arm

8Os





Figure 3‑2
3.3 Connection Sample

3.3.1 Detector Cable Connection 

Please refer to Figure 3‑3 for alarm input port information.
[image: image7.emf]
Figure 3‑3
Please refer to the following figure for detector connection information. See Figure 3‑4.

[image: image8.png]Alarm Panel Peripheral Detectors Alarm Panel NC Detector

NC Detector NO Detector




Figure 3‑4
3.3.2 Alarm Output Connection 

Alarm output cable connection is shown as below. See Figure 3‑5
[image: image9.png]NO4 C4 NO3 C3 NO2 C2 NO1 C1

Alarm Lamp  Alarm Lamp  Alarm Lamp  Alarm Lamp




Figure 3‑5
Trigger output cable connection information is shown as in Figure 3‑6.
[image: image10.png]DC 12V

NO/NC

Circuit Breaker
COM Peripheral Devices

O ®

Peripheral DC Load





[image: image11.png]DC 12V AC 220V

I Peripheral Circuit
Devices Breaker

Peripheral AC Load




Figure 3‑6
3.3.3 Power Connection 

Accumulator and DC power connection is shown as below. See Figure 3‑7.
[image: image12.png]Lead-acid Power Adapter





Figure 3‑7
Note

Replace the accumulator for each 3 or 5 years (recommended). 
4 OVERVIEW OF NAVIGATION AND CONTROLS 
Before operation, please make sure:

· You have properly installed HDD and connect all the necessary cables. 

· The provided input power and the device power are matched.

· Always use the stable current, if necessary UPS is a best alternative measure.  

4.1  Login & Logout 

4.1.1 Login 

After system booted up, system pops up the startup wizard. 

Click the Cancel button; you can go to the system login interface. 

Click the Next Step button; after you login, you can go to the startup wizard interface. Here you can set the system basic information. See Figure 4‑1.

[image: image13.png]Startup Wizard

Startup Wizard:General, Encode, Schedule,
Record Control, Network.

B Startup





Figure 4‑1
The system login interface is shown as in Figure 4‑2. 

System consists of four accounts: 
· Username: admin.  Password: admin. (administrator, local and network)

· Username: 888888. Password: 888888. (administrator, local only)

· Username: 666666. Password: 666666(Lower authority user who can only monitor, playback, backup and etc.)

· Username: default. Password: default(hidden user)

You can use USB mouse, front panel, remote control (not included in the accessory bag) or keyboard to input. About input method: Click [image: image14.png]


 to switch between numeral, English character (small/capitalized) and denotation.

Note: 

For security reason, please modify password after you first login. 

Continuous three times login failure will result in system alarm and six times login failure will result in account lock!

[image: image15.jpg]SYSTEM LOGIN

User Name (888888 5

Password 123}

3
6
9 ncel
=





Figure 4‑2
4.1.2 Logout 

In the main menu, click shutdown button, you can see an interface is shown as below. See Figure 4‑3.

[image: image16.jpg]UTDOWN

‘Logou( menu user
Password is needed to re-enter the menu
| after logout.

OK ] | Cancel |





Figure 4‑3
There are several options for you. See Figure 4‑4.

[image: image17.png]Logout menu user
Shutdown

Restart system
Switch user





Figure 4‑4
4.2 Network 

From main menu->System->Network, you can go to the network interface. Here is for you to input network information.

The IPv4 interface is shown as in Figure 4‑5 and the IPv6 interface is shown as in Figure 4‑6.

· IP Version: There are two options: IPv4 and IPv6. Right now, system supports these two IP address format and you can access via them. 

· MAC address: The host in the LAN can get a unique MAC address. It is for you to access in the LAN. It is read-only. 

· IP address: Here you can use up/down button ((() or input the corresponding number to input IP address. Then you can set the corresponding subnet mask the default gateway. 

· Subnet prefix: The input value ranges from 0 to 128. It is to mark a specified network MAC address. Usually it includes an organization of multiple-level. 

· Default gateway: Here you can input the default gateway. Please note system needs to check the validity of all IPv6 addresses. The IP address and the default gateway shall be in the same IP section. That is to say, the specified length of the subnet prefix shall have the same string. 

· DHCP: It is to auto search IP. When enable DHCP function, you can not modify IP/Subnet mask /Gateway. These values are from DHCP function. If you have not enabled DHCP function, IP/Subnet mask/Gateway display as zero. You need to disable DHCP function to view current IP information.  Besides, when PPPoE is operating, you can not modify IP/Subnet mask /Gateway. 
· TCP port: Default value is 37777. You can change if necessary.

· UDP port: Default value is 37778. You can change if necessary.
· HTTP port: Default value is 80.

· RTSP port: Default value is 554.

Important: System needs to reboot after you changed and saved any setup of the above four ports. Please make sure the port values here do not conflict.
· Max connection: system support maximal 128 users. 0 means there is no connection limit.

· MTU: It is to set MTU value of the network adapter. The value ranges from 1280-7200 bytes. The default setup is 1500 bytes. Please note MTU modification may result in network adapter reboot and network becomes off. That is to say, MTU modification can affect current network service. System may pop up dialog box for you to confirm setup when you want to change MTU setup. Click OK button to confirm current reboot, or you can click Cancel button to terminate current modification. Before the modification, you can check the MTU of the gateway; the MTU of the alarm panel shall be the same as or is lower than the MTU of the gateway. In this way, you can reduce packets and enhance network transmission efficiency. 

The following MTU value is for reference only. 

· 1500: Ethernet information packet max value and it is also the default value. It is the typical setup when there is no PPPoE or VPN. It is the default setup of some router, switch or the network adapter. 

· 1492: Recommend value for PPPoE.

· 1468: Recommend value for DHCP.

· Preferred DNS server: DNS server IP address.

· Alternate DNS server: DNS server alternate address.

· Transfer mode: Here you can select the priority between fluency/video qualities.

· LAN download: System can process the downloaded data first if you enable this function. The download speed is 1.5X or 2.0X of the normal speed.

Important

For the IP address of IPv6 version, default gateway, preferred DNS and alternate DNS, the input value shall be 128-digit. It shall not be left in blank.

After completing all the setups please click save button, system goes back to the previous menu.

[image: image18.png]IP Version IPv4

IP Address 10 . 15 - 144 DHCP

Subnet Mask 255 . 255 0

Default Gateway [10 . 15 1

TCP Port 37777 HTTP Port 80

UDP Port 37778 HTTPS PORT (443

RTSP Port 554 MTU 1500

Preferred DNS [ 10 1 - 80

Alternate DNS 10 1 - 81

Max Connection (128 LAN Download





Figure 4‑5
[image: image19.png]IP Version IPvé 9
LinkAddr
IP Address /|64

Default Gateway

TCP Port

HTTP Port 80
HTTPS PORT (443
MTU 1500

UDP Port

RTSP Port

Preferred DNS

Alternate DNS

Max Connection (128 LAN Download

NETWORK SETTING





Figure 4‑6
4.3 Zone 

From main menu->Alarm->Zone, you can go to the zone interface.
It is to set protection zone and its corresponding alarm trigger operation. See Figure 4‑7.
· Zone No. Please select a zone number from the dropdown list. 

· Zone name: Please input customized setup. 

· Type: Click settings button, you can see there are three types: realtime zone, delay zone, 24-H zone. 

· Realtime zone: On the arm status, once the detector connected to the zone is trigged, the alarm panel can generate an alarm immediately. There is no delay time. 

· Delay zone: Please set two parameters: Enter delay and Exit delay.

a) In the entry delay mode, there is no trigger operation after the alarm is trigged for M seconds (M refers to the in delay value you set here). You can disarm during the M seconds. If you do not disarm, the protection zone is activated after M seconds. For example: after you enabled arm status and then set the in delay is 10s. System only enables link alarm after the alarm occurred for 10 seconds no matter the alarm has disappeared or still exists. 

b)  Exit delay: After you enable arm status, the arm operation becomes valid after N seconds (N refers to the exit delay value you set here). During the N seconds period, the alarm link operation is null. For example, after you enable out delay time 15s, there is no alarm link event during the first 15 seconds until the 15-second countdown ends. 

· 24-H zone: The detector of current protection zone is armed for all the 24-H, no matter it is armed or disarmed. But you can arm/disarm manually. There is no arm period setup and the arm button on the front panel is null. You can only set on the menu interface. 
· PTZ activation: When an alarm occurred, system can activate the PTZ operation. The PTZ activation lasts an anti-dither period. 

· In the Pan/Tilt/Zoom interface (Main menu->Setting-> Pan/Tilt/Zoom), please set video channel, speed dome protocol and etc. 

· Select the channel of current speed dome as current monitor video and the right click mouse to select Pan/Tilt/Zoom item. Now you can set preset, tour pattern.

· In Figure 4‑7, click “setup” button, you can see an interface is shown as in Figure 4‑8. Here you can set the activation operation such as preset tour, pattern and enable. 
· Period: Click setup button, you can see an interface is shown as in Figure 4‑9. Here you can set for business day and non-business day. In Figure 4‑9, click set button, you can see an interface is shown as in Figure 4‑10. Here you can set your own setup for business day and non-business day.
· Alarm output: when an alarm occurs, system enables peripheral alarm devices.
· Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.
· Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.
· Send email: System can send out email to alert you when an alarm occurs. 
· Record channel: System auto activates corresponding channel(s) to record once an alarm occurs.
· Record Delay: System can delay the record for specified time after alarm ended. 
· Tour: Here you can enable tour function when an alarm occurs. You can see the pop-up video when an alarm occurs so that you can check the alarm status again. 
· Snapshot: You can enable this function to snapshoot image when an alarm occurs.
· Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.
· Snapshot: 

· Audio broadcast: System triggers audio function when generating an alarm. 

· Output port: It is to set output port. The default setup is talk port. 
· Call centre: System can upload the alarm to the call centre when an alarm occurs. 

· Siren output control: System triggers siren when an alarm occurs. 
[image: image20.png]—
T
W@ Alam Out a

[(JShow Message [ JAlarm Upload ()Send Email
@Record Channel BREEEE
(JPTZ Activation Delay (C——
OTour 8200BE0E

([Jsnapshot B[]
[JBuzzer

(JAudio Broadcast (WA |+] OutputPort  [TalkPort |~

(Jcall Centre
@ Bell Output Control





Figure 4‑7
[image: image21.png]CAM 1
CAM 3

None

0 CAM 2

None

0 CAM 4

o)

None

None





Figure 4‑8
[image: image22.png]Work Day ~| [ Setwp | x
W (0000 24 :00 0000 24 00
00 :00  -24 :00 00 :00 24 :00
00 :00  -24 :00 00 :00 24 :00
0.3 6 9 12 15 18 21 24
Sun S
Mon I ——
Tue 1 ——
Wed I ——
Thu 1 ——
Fri I ——
Sat ]
0 3 6 9 12 15 18 21 24





Figure 4‑9
[image: image23.png]Sun  Mon Tue Wed Thu Fri Sat
Work Day ® L L L L (o] (o]
FreeDay O O O O O L] L]





Figure 4‑10
4.4 Remote 

From main menu->Alarm->Remote, you can go to the alarm remote interface. 

The alarm remote interface is shown as below. See Figure 4‑11.

· Wireless ID: It refers to the wireless ID of the remote control. 

· User name: It is the user name of the remote control. 

· Modify: It is to change remote control status. Y means current remote control is valid. N means it is null now. 

· Delete: It is to delete the registered remote control. 

· Status: It is to display remote control status. Y means current remote control is valid. N means it is null now. 

Click wireless code button at the bottom of the interface to search remote controls. Follow the dialogue box to click any button of the remote control to connect. After successful connection, you can change the registered remote control information. 

[image: image24.png]0 |WirelessID UserName Modify Delete Status

Wireless Code





Figure 4‑11
4.5 Abnormality 
From main menu->Alarm->Abnormality, you can go to the abnormality interface. 

Abnormality interface is shown as in Figure 4‑12.

· Event type: There are several options for you such as disk error, no disk, disconnection, IP conflict, MAC conflict, main power offline, accumulator error, case intrusion, PSTN offline and etc. 

· Less than: Please input HDD space threshold value here (For disk no space type only). 

· Alarm output: Please select alarm activation output port (multiple choices). 

· Latch: Here you can set corresponding delaying time. The value ranges from 1s-300s. System automatically delays specified seconds in turning off alarm and activated output after external alarm cancelled.
· Show message: system can pop up the message in the local screen to alert you when an alarm occurs. 

· Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

· Send email: System can send out email to alert you when an alarm occurs. 

· Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.
· Audio broadcast: System triggers audio function when generating an alarm. 

· Output port: It is to set output port. The default setup is talk port. 
[image: image25.png]Event Type No Disk 9
Enable
W Alarm Out BRORE Latch

@ Show Message [ Alarm Upload [_)Send Email

WBuzzer

B Audio Broadcast [N/A [+] Output Port

(Bl Output Control

sec.

Talk Port |

Save Cancel

El





Figure 4‑12
[image: image26.png]WBuzzer

Event Type Disk No Space |
Enable

Less Than 20 %
W Alarm Out BRORE Latch

@ Show Message [ Alarm Upload [_)Send Email

B Audio Broadcast [N/A [+] Output Port

(Bl Output Control

sec.

Talk Port |

Save Cancel

El





Figure 4‑13
4.6 Arm/Disarm 

From main menu->Alarm->Arm/Disarm, you can go to the arm/disarm interface. 

The arm/disarm interface is shown as below. See Figure 4‑14. Here you can arm or disarm a channel/all channels. 

· Arm all: Check the box here to arm all protection zones. 

· Disarm all: Check the box here to disarm all protection zones. `
· Status: Select from the dropdown list. There are three options: non-bypass/bypass/quarantine.
· Normal/bypass: Check the box, the status is shown as normal. Cancel the box, the status is shown as bypass. 

[image: image27.png]® Arm Al O Disarm All

v/ Status No. Name Type Entry Delay Exit Delay
v/ Normal 1 Zone1 Realtime - =
v|Normal 2 Zone2 Realtime - =
v|Normal 3 Zone3 Realtime - =
v|Normal 4 Zone4 Realtime - =
v|Normal 5 Zone5 Realime - =
v|Normal 6 Zone6 Realime - =
v|Normal 7 Zone7 Realtime - =
v|Normal 8 Zone8 Realtime - =





Figure 4‑14
4.7 Bell Output

From main menu->Alarm->Bell output, you can go to the siren output interface. 

Here is for you to set siren output last period. See Figure 4‑15.

[image: image28.png]The last time of siren output





Figure 4‑15
4.8 Zone Status 

From main menu->Alarm->Zone Status, you can go to the zone status interface. 

Here is for you to view protection zone status. See Figure 4‑16.

· Local module: You can select from the dropdown list. 

· Other alarm: You can select from the dropdown list. 

· Cancel alarm: Click the button to cancel the corresponding alarm. 
[image: image29.png]Index 12345678
Local Module 00000000
Fire alarm

[

Robber alarm
Emergency alarm
Emergency alarm from keyfob
Case Intrusion

ﬂ 000000

Local Module

[7) (" Confirm
Other Alarm Case Intrusion|~| (_ Confirm





Figure 4‑16
4.9 Broadcast 

From main menu->Video->Broadcast, you can go to the broadcast interface. 

The broadcast interface is shown as in Figure 4‑17. Here you can set audio file volume. 

[image: image30.png]File Name Size Audition Delete

Left Space/Total Space 8.00 MB/ 8.00 MB Volume el

Schedule Playback





Figure 4‑17
Click Schedule playback button, you can see an interface shown as below. See Figure 4‑18.

Here you can set schedule playback period and file. 

[image: image31.png]Period Audio Broadcast Interval Output Port
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/
00 :00 -24 :00 N/A - 60 Minute Talk Port| ~/





Figure 4‑18
5 WEB OPERATION 
5.1  Network Connection 

Before web operation, please check the following items:

· Network connection is right

· Alarm panel and PC network setup is right. Please refer to network setup(Setup ->Network)
· Use order ping ***.***.***.***(* alarm panel IP address) to check connection is OK or not. Usually the return TTL value should be less than 255.
· Open the IE and then input alarm panel IP address.

· System can automatically download latest web control and the new version can overwrite the previous one.

· If you want to un-install the web control, please run uninstall webrec3.0.bat. Or you can go to C:\Program Files\webrec to remove single folder. Please note, before you un-install, please close all web pages, otherwise the un-installation might result in error.

· Current series product supports various browsers such as Safari, firebox browser, Google browser. Device only support 1-channel monitor on the Apple PC. 

5.2 Login 

[image: image68.png]Security Setting:

nternet Zone

Settings

O Disable
© Enable

9] Download signed ActiveX controls (not secure)
O Disable
© Enable (not secure)
O Prompt (recommended)

9] Download unsigned Active controls (not secure)
© Disable (recommended)
© Enable (not secure)
O Prompt

19 Intiaize and scrpt ActiveX contros ok merked as sae for s
O Disable (recommended)
© Enable (not secure)
O Prompt

4] Run ctiveX contros and pug-ins
3 bbb e

< I

*Takes effect after you restart Internet Explorer

Reset custom settings




Open IE and input alarm panel address in the address column. For example, if your alarm panel IP is 10.10.3.16, then please input http:// 10.10.3.16 in IE address column. See Figure 5‑1.
[image: image32.png]GO - [ermmm el ()] oo oL

T @ne= T





Figure 5‑1
System pops up warning information to ask you whether install webrec.cab control or not. Please click yes button.
If you can’t download the ActiveX file, please modify your settings as follows. See Figure 5‑2.

[image: image33.png]Internet Options

General | Security |Privacy || Content | Connections | Programs | Advanced |

Select a zone to view or change security sektings.

@ ) v e

oot oca Tustedstes ¥
< ] 8
eret =
‘This zone is for Internet websites, =5
ks e ratios o
e

Security level for tis zone
Allowed levels For this zone: Medum ta Hih

Medium-high
- Appropriate for most websites

- Prompts before dowrloading potentialy unsafe
cantent.

~Unsigned Actve controls il not be downloaded

Custom level Default fevel

Reset all zones to defaul evel

m





Figure 5‑2
After installation, the interface is shown as below. See Figure 5‑3.

Please input your user name and password. 
Default factory name is admin and password is admin. 
Then you can select the login mode: LAN and WAN. 

Note: For security reasons, please modify your password after you first login.
[image: image34.png]



Figure 5‑3
5.3 LAN Mode 

For the LAN mode, after you logged in, you can see the main window.  See Figure 5‑4. 
[image: image35.png]WEB scvvce | ERETNER SIS S SN TR

DeviceMonitor Status:

@ 3]

Detector ZonesNormal VideoNormal Local StatusNormal

Valid Alarm(0)
A Channel
Aarm Input(@)
Channel





Figure 5‑4
5.4 WAN Login 

In WAN mode, after you logged in, the interface is shown as below. See Figure 5‑5.

[image: image36.png]WEB scvvce | ERETNER SIS S SN TR

DeviceMonitor Status:

@ 3]

Detector ZonesNormal VideoNormal Local StatusNormal

Valid Alarm(0)
A Channel
Aarm Input(@)
Channel





Figure 5‑5
For detailed operation information, please refer to the User’s Manual included in the resources CD. 

6 KEYBOARD OPERATION 
6.1 Alarm Keyboard Operation Code 

Please refer to the following contents for operation code:

The alarm keyboard supports three modes: Global mode, programming mode and search mode. 

These three modes can not be valid at the same time. The default mode is global. After you exit the other two modes or the keyboard is idle for more than 5 minutes, system goes to global mode by default. 

	Name 
	Note

	Global mode 
	For this mode, it is for the whole alarm panel system. 

The main operations include: arm/disarm, cancel all alarms, alarm input/output/exit programming mode, enter/exit search mode, default and etc. 

	Programming mode 
	Primary key user and the installer user can enter the programming mode. 
The main operations include: add/delete/modify user, user authorities setup, network setup and etc. 

	Search mode 
	The primary key user and the installer user can go to the search mode. 
The main operations include: search alarm input/output channel, activated protection zone amount, channel alarm status, channel physical map, channel bypass status, system arm/disarm status, user amount, user exists or not, network port, IP address, subnet mask and gateway. 


Note
· The default user is the primary key user, the password is 1234. The installer user password is 01234. The hijacked user password is null. 

· The primary key user has all authorities and can operate the alarm panel. The installer user can only go to the programming mode and search mode. The hijacked user can only arm/disarm. 

· Three emergency events: Fire alarm, public security alarm, medical alarm and search mode are special operations. It can work in any mode.
· Alarm keyboard supports hot swap. 

6.2 Alarm Keyboard Special Operations
In any mode, you can operation the following actions.
6.2.1 Fire Event 

Operation: Press fire alarm button for 3 seconds. 

6.2.2 Public Security Event 

Operation: Press public security button for 3 seconds. 

6.2.3 Medial Event 

Operation: Press ［#］ button for 3 seconds. 

6.2.4 Search Device Mode 

Operation: Press ［1］ + ［OK］
After press ［1］  and then select the corresponding system mode: Global/programming/search.

6.3 Alarm keyboard global mode 

6.3.1 General Arm/Disarm 

Operation: Press ［user password］ + ［*］ + ［0］ + ［OK］

For example, if the user password is 1234, you need to input:
［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［0］ + ［OK］ 

If the alarm panel is arming right now, it will switch to disarm mode. If the alarm panel is disarming, it will switch to arm mode. 

Note

The keyboard arm light can display current arm/disarm status. When the status switches, it beeps once if it becomes to arm. It beeps twice if it becomes to disarm and there are some corresponding prompts. 

6.3.2 Hijacked arm/disarm 

Operation:［Hijacked password］ + ［*］ + ［0］ + ［OK］

Note

Hijacked password arm/disarm will trigger hijack alarm. 

The hijacked password refers to the password of user 099. 

6.3.3 Keyboard Cancel Alarm 

After the keyboard triggers an alarm, you can use keyboard to cancel it too. 
Operation:［user password］ + ［*］ + ［1］ + ［OK］

For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［1］ + ［OK］

Note

The keyboard can only cancel the protection zone alarm. 

6.3.4 Alarm Output 
The alarm output has three modes；0=Auto alarm, 1= force alarm and 2=close alarm. The force alarm can generate an alarm output; you can use auto alarm or close alarm to close the force alarm. 
The auto alarm operation:

［user password］ + ［*］ + ［2］ + ［n1］ + ［n2］ + ［OK］
Note

Video network alarm panel supports 4-channel alarm output. n1 refers to output channel number 1-4.  n2 refers to mode:0-auto alarm. 1-force alarm. 2-close. 
6.3.5 Default 

Operation:［user password］ + ［*］ + ［3］ +［OK］
For example, if the user password is 1234, you need to input:

［1］ +［2］ +　［3］ + ［4］ + ［*］ + ［3］ +［OK］ 

The default function is for primary key user only. 

Note

Video network alarm panel default items include: alarm, alarm output, keyboard, arm/disarm, main power is off, voltage is low, anti-tamper, telephone alarm centre, PSTN offline, network offline, IP conflict, MAC conflict, emergency alarm. 
6.3.6 Go to Programming Mode 

Operation:［User password］ + ［*］ + ［4］ + ［OK］
For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［4］ + ［OK］ 

The programming mode is only for primary key user and installer user. 

6.3.7 Exit Programming Mode 

Operation:［*］ + ［OK］

Please exit programming mode first if you wan to go to another mode. 
6.3.8 Go to System Search Mode 

Operation:［user password］ + ［*］ + ［6］ + ［OK］
For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［6］ +［OK］ 

This mode is for primary key user and installer user only. 
6.3.9 Exit System Search Mode 
Operation:［*］+ ［OK］
Please exit system search mode first if you wan to go to another mode. 

6.4 Alarm keyboard Programming Mode 
Before you use the keyboard to program, please make sure you have entered keyboard programming mode. 

6.4.1 Add/modify user 

Programming command:

[image: image37.png]000 000 01234 OK

T

O © ® @




Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Programming address：000.

	2
	User serial number. Total supports 100 users.

000: Primary key user. 001: installer user. 002～099: The 2nd users. 

	3
	User password. The password length ranges from 2 to 5. 
The primary key user can add/modify the 2nd user, but it can not modify the password of the installer user. 

After the installer user enters programming mode, it can change its own password. But it can not change the password of the primary key user and the 2nd user. 

	4
	Command ends. 


6.4.2 Delete User 
Programming command:

[image: image38.png]001 002

TT—I—




Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Programming user：001.

	2
	User serial number: 002～099.
Only the primary key user can delete the 2nd user. 

Can not delete primary key user, installer user, hijacked user (099).

	3
	Command ends


6.4.3 Authorities 
Programming command:

[image: image39.png]



Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Programming address：002.

	2
	User serial number，002～099.
Primary key user, installer user, hijacked user (099) can not set their own authorities. 

	3
	There are 14 user authorities

· 0：Arm./disarm

· 9：Cancel alarm

· 10：Alarm output

· 11：Programming mode

· 12：Restore default setup

· 13：Search mode

	4
	Command ends


Note

· The primary key user has 0-13 authorities. The installer user only has 11 and 13 authorities. Authorities of primary key user, installer user and hijacked user (099) are read-only.

· The 2nd user can only have the 0-10 authorities. 

6.4.4 Local IP 

Programming command:

[image: image40.png]573 192 000 000 064 OK

o @ ® W 6





Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Alarm panel IP programming address：573.

	2
	The 1st unit 

	3
	The 2nd unit.

	4
	The 3rd unit


	5
	The 4th unit.

	6
	Command ends


Note
· IP address programming adopts 12-bit data. 1-12 refers to the alarm panel IP address. 

· Each unit of the IP address adopts 3-bit setup mode. Input 0 to fill in the blank if it is less than 3-bit. For example, if the IP address is 192.2.28.66, you need to input 192 002 028 066.
6.4.5 Local Port 
Programming command:

[image: image41.png]=0
~—Q
~—®
P—@




Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Local port programming address: 574.

	2
	Port value (10000-bit)

	3
	Port value (1000-bit)

	4
	Port value (100-bit)

	5
	Port value (10-bit)

	6
	Port value (1-bit)

	7
	Command ends


Note
Port value ranges from 1025-65535.
6.4.6 Subnet Mask  

Programming command:

[image: image42.png]575 255 255 255 000 OK

0o @ 6 @ 6 ®





Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Alarm panel subnet mask programming address: 575. 

	2
	The 1st unit 

	3
	The 2nd unit.

	4
	The 3rd unit

	5
	The 4th unit.

	6
	Command ends


6.4.7 Gateway 

Programming command:

[image: image43.png]576 000 000 000 000 OK

0 @ ® @ 6 ©





Please refer to the following sheet for detailed information. 
	SN
	Note

	1
	Host gateway programming address：576.

	2
	The 1st unit 

	3
	The 2nd unit.

	4
	The 3rd unit

	5
	The 4th unit.

	6
	Command ends


6.5 Alarm Keyboard Search Mode 

6.5.1 Search Alarm Input/Output Channel No. 

Programming command:
[image: image44.png]



①  Programming address：200.
② Command ends.

Keyboard displayed data:

[image: image45.emf]
①  Displayed programming address：200.
②  Displayed input/output channel No. 
6.5.2 Search Triggered Protection Zone

Programming command:

[image: image46.png]



①  Programming address：201.
②  Command ends.
Keyboard displayed data:

[image: image47.emf]
①  Displayed programming address：201.
②  Displayed triggered protection zone amount.
6.5.3 Search Channel Alarm Status 

Programming command:

[image: image48.png]3

o
N




① Programming address：202.
② Channel No.001～256.
③ Command ends 

Keyboard displayed data 

[image: image49.emf]
①  Displayed programming address：202.
②  Display channel alarm status：0=No alarm，1=Alarm
6.5.4 Search Channel Physical Map Address
Programming command:

[image: image50.png]



① Programming address：203.
②  Channel No.001～256.
③  Command ends
Keyboard displayed data 

[image: image51.emf]
①  Displayed programming address ：203.
②  Display physical map address: slot/level1/level2.
Note 

Physical map address: slot refers to node root SN. Level1 is the first cascade address and level2 is the second cascade address. 

6.5.5 Search Channel Bypass Status 
Programming command:

[image: image52.png]204 001 OK

T T

o @ ®




① Programming address：204.
② Channel No. 001～256.
3 Command ends 

Keyboard displayed data 

[image: image53.emf]
①  Display programming address：204.
2 Display channel bypass status：0=normal，1=bypass，2=separate

6.5.6 Search system arm/disarm status 
Programming command:

[image: image54.png]206 OK

O @




① Programming address：206.
2 Command ends

Keyboard displayed data 

[image: image55.emf]
①  Display programming address：206.
②  Display system arm/disarm status：0=disarm，1=arm.
6.5.7 Search user amount 

Programming command:

[image: image56.png]



①  Programming address：207.
②  Command ends.
Keyboard displayed data 

[image: image57.emf]
①  Display programming address：207.
②  Display user amount 000～100.
6.5.8 Search User Exists or not 

Programming command:

[image: image58.png]208 001 OK

T

o @ ©)]




①  Programming address：208.
②  User No. 000～099.
3 Command ends. 
Keyboard displayed data 
[image: image59.emf]
①  Display programming address：208.
②  0=user does not exist，1=user exists.
6.5.9 Search port No. 
Programming command:

[image: image60.png]



①  Programming address：209.
2 Command ends

Keyboard displayed data 
[image: image61.emf]
①  Display programming address：209.
②  Display port number. 

6.5.10 Search IP address 

Programming command:

[image: image62.png]



①  Programming address：210.
②  Command ends. 

Keyboard displayed data 
[image: image63.emf]
①  Display programming address：210.
2 Display IP address.
6.5.11 Search Subnet Mask 

Programming command:

[image: image64.png]



①  Programming address：211.
2 Command ends

Keyboard displayed data 
[image: image65.emf]
①  Display programming address：211.
②  Display subnet mask.

6.5.12 Search Gateway

Programming command:

[image: image66.png]



①  Programming address：212.
②  Command ends

Keyboard displayed data 
[image: image67.emf]
①  Display programming address：212.
②  Display gateway 
Appendix Toxic or Hazardous Materials or Elements
	Component Name
	Toxic or Hazardous Materials or Elements

	
	Pb
	Hg
	Cd
	Cr VI
	PBB
	PBDE

	Sheet Metal(Case)
	○
	○
	○
	○
	○
	○

	Plastic Parts（Panel）
	○
	○
	○
	○
	○
	○

	Circuit Board
	○
	○
	○
	○
	○
	○

	Fastener
	○
	○
	○
	○
	○
	○

	Wire and Cable/AC Adapter
	○
	○
	○
	○
	○
	○

	Packing Material
	○
	○
	○
	○
	○
	○

	Accessories
	○
	○
	○
	○
	○
	○


Note

O: Indicates that the concentration of the hazardous substance in all homogeneous materials in the parts is below the relevant threshold of the SJ/T11363-2006 standard.
X: Indicates that the concentration of the hazardous substance of at least one of all homogeneous materials in the parts is above the relevant threshold of the SJ/T11363-2006 standard. During the environmental-friendly use period (EFUP) period, the toxic or hazardous substance or elements contained in products will not leak or mutate so that the use of these (substances or elements) will not result in any severe environmental pollution, any bodily injury or damage to any assets.  The consumer is not authorized to process such kind of substances or elements, please return to the corresponding local authorities to process according to your local government statutes.
Note

· For detailed operation introduction, please refer to our resource CD included in your package for electronic version of the User’s Manual.
· Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice.
· All trademarks and registered trademarks mentioned are the properties of their respective owners.
· If there is any uncertainty or controversy, please refer to the final explanation of us.
· Please visit our website for more information.

















































































































































































































































































































































































Input your IP address here.














PAGE  
28

