
HD Megapixel Indoor Network Camera Quick Start Guide
Version 1.0.0

Welcome

Thank you for purchasing our Network camera!

This user’s manual is designed to be a reference tool for your system. 

Please read the following safeguard and warnings carefully before you use this series product!

Please keep this user’s manual well for future reference!

Important Safeguards and Warnings 

1．Electrical safety

All installation and operation here should conform to your local electrical safety codes. 
Please check if the power supply is correct before operating the device. 
The power shall conform to the requirement in the SELV (Safety Extra Low Voltage) and the Limited power source is rated 12V DC, DC5V or AC24V in the IEC60950-1. (Power supply requirement is subject to the device label).  
Please install easy-to-use device for power off before installing wiring, which is for emergent power off when necessary. 

Please prevent the line cord from being trampled or pressed, especially the plug, power socket and the junction from the device. 
Note: Do not connect these two power supplying sources to the device at the same time; it may result in device damage!

We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation. 

We are not liable for any problems caused by unauthorized modification or attempted repair.
2．Environment

Please don’t aim the device at strong light (such as lighting, sunlight and so on) to focus; otherwise it may cause overexposure (It is not the device malfunction), which will affect the longevity of CCD or CMOS.

Please transport, use and store the device within the range of allowed humidity and temperature. 

Please don’t keep the device in a place which is wet, dusty, extremely hot, and extremely cold and with strong electromagnetic radiation or unstable lighting. 

Please do not allow water and other liquid falling into the camera in case that the internal components are damaged. 
Please do not allow rain or damp to the indoor device in case fire or lightning may occur. 

Please keep the sound ventilation in case of heat accumulation.

Please pack the device with standard factory packaging or material with same quality when transporting the device. 
Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3. Operation and Daily Maintenance 

Please do not touch the heat dissipation component of the device directly in order to avoid scald. 

Please do not dismantle the device; there is no component which can be fixed by users themselves in the machine. It may cause water leakage or bad image for the device due to unprofessional dismantling.

It is recommended to use the device with thunder proof device in order to improve thunder proof effect. 

The grounding holes of the product are recommended to be grounded to further enhance the reliability of the camera.

Do not touch the CCD (CMOS) optic component directly. You can use the blower to clean the dust or dirt on the lens surface. Please use a dry cloth wetted by alcohol to wipe away the dust gently if it is necessary to clean. 
Always use the dry soft cloth to clean the device.  If there is too much dust, please use the water to dilute the mild detergent first and then use it to clean the device. Finally use the dry cloth to clean the device. Don’t use volatile solvent like alcohol, benzene, thinner and etc or strong detergent with abrasiveness, otherwise it will damage the surface coating or reduce the working performance of the device.
Dome cover is an optical device, please don’t touch or wipe cover surface directly during installation and use, please refer to the following methods to deal with once dirt is found: 

Stained with dirt

Use oil-free soft brush or hair dries to remove it gently. 

Stained with grease or fingerprint 

Use soft cloth to wipe the water drop or oil gently to make it dry, then use oil-free cotton cloth or paper soaked with alcohol or detergent to wipe from the lens center to outward. It is ok to change the cloth and wipe several times if it is not clean enough. 

Warning

Please use the standard accessories provided by manufacturer and make sure the device is installed and fixed by professional engineers. 

Please prevent the device surface from the radiation of laser beam when using laser beam device. 

Please do not provide two or more power supply modes for the device, otherwise it may cause damage to the device. 

Statement 

Please refer to the actual product for more details; the manual is just for reference. 

The manual will be regularly upgraded according to the product update; the upgraded content will be added in the manual without prior announcement. 

Please contact the supplier or customer service if there is any problem occurred when using the device.

Please contact the customer service for the latest procedure and supplementary documentation. 

There may be deviation between the actual value of some data and the value provided in the manual due to the reasons such as the real environment is not stable and so on. Please refer to the company’s final explanation if there is any doubt or dispute. 

The company is not liable for any loss caused by the operation which is not followed by the manual. 

Note: 

Please refer to the disk for more details, check and download corresponding user’s manual and tool.

Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.

	Accessory Name
	Amount

	Network Camera Unit 
	1

	C/CS Lens Adapter Ring 
	1

	Quick Start Guide 
	1

	Antenna (4G optional)
	1

	CD
	1


Table of Contents 

11
Framework


11.1
Rear Panel


31.2
Dimension


31.3
Bidirectional talk


31.3.1
Device-end to PC


31.3.2
PC to the Device-end


41.4
Alarm Setup


41.4.1
Alarm Input and Output Connection


51.4.2
IR Light Connection


72
Installation


72.1
Lens Installation


72.1.1
Auto Aperture Lens Installation


72.1.2
Manual Aperture Lens Installation


82.2
SD Card/SD Card Installation


82.3
WIFI Antenna Installation


82.4
I/O Port Application


103
Network Configuration


103.1
Modify IP Address


113.2
Login WEB Interface





1 Framework 

1.1 Rear Panel 
Note: 

The figures are for reference only, which are used to know the functions of the rear panel. 

Different devices may have different structures of rear panel, please refer to the actual product for more details. See Figure 1‑1.

[image: image1.jpg]= + OEZOOTEES

= + DozoommEZE o,

o s Oo

e} 3o

O Oeomwexr

. O
Qe
T | o

Diameter=7mm Paint Protection Area

o®* O 0O o





Figure 1‑1 

Please refer to the following sheet for detail information.

	Port Name 
	Port Function 

	VIDEO OUT 
	Video output port 
	Output analog video signal. Can connect to TV monitor to view video. 

	AC 24V/ DC 12V
	Power port 
	Able to input 12V DC or AC 24V power supply, and support power supply at the same time (4G devices are excluded, in accordance with label)

	STATUS

Indication Light 
	Red light [image: image2.bmp]

	· System boot up-red light is on

· System upgrades-red light flashes

· System resets-green light is off, red light is on.

	
	Green light [image: image3.bmp]
	· Normal working status-green light is on.

· Display record status: Record-green light flashes.  

	
	Yellow light [image: image4.bmp]
	· Detect the wireless device-yellow light is on. 

	4G
	4G port
	· Connect to 4G card. 

· Note: Only some models supports 4G function.

	WIFI
	Antenna port
	· Connect to 4G/WIFI antenna, receiving wireless signal. 
· Note: Only some models support this function.

	IN1
	Alarm input port 1
	Receive the on-off signal from the external alarm source. 

	NO
	Alarm output port 
	Alarm output port. To output alarm signal to the alarm device. 

· NO: Normal open alarm output end. 

· C: Alarm output common end. 

	C
	
	

	IN2
	Alarm input port 2
	To receive the on-off signal from the external alarm source. 

	A
	RS485 port 
	RS485_A port, control external PTZ and etc. 

	B
	
	RS485_B port, control external PTZ

	RX
	RS232 port 
	Receiving end of RS232 serial port.

	TX
	
	Sending end of RS232 serial port. 

	G
	GND
	Ground end of RS232 serial port. 

	NA
	IR light port 
	External IR light signal control port. 

	RESET
	RESET button 
	Restore device factory default setup. 

When system is running normally, press the RESET button for at least 5 seconds, system can restore factory default setup.

	ABF
	Auto back focus adjustment
	Auto back focus adjustment, by adjusting Sensor position to achieve precise focus. 

	AUDIO OUT
	Audio output port 
	3.5mm JACK port, output audio signal to the passive device such as earphone and etc. 

	AUDIO IN
	Audio input port 
	3.5mm JACK, input audio signal from devices such as pick-up.

	LAN[image: image5.bmp]/OPT
	Network port /MB optical fiber port
	LAN: Connect to standard Ethernet cable and provide PoE power supply function. 
OPT: transmit MB Ethernet data. 

	SD
	SD card port 
	Connect to SD card. 

	[image: image6.jpg]



	GND
	Please make sure the device is securely earthed to prevent the thunderstorm strike when using the device. 


1.2 Dimension 
The figures are for reference only, which are used to know the device dimension, please refer to the actual device for more details. The unit is mm. See Figure 1-2.
[image: image7.png]135.4

125.0

74.1





Figure 1‑2
1.3 Bidirectional talk 
Note: 

Some devices don’t support bidirectional talk, which can’t be applied to this chapter. 
1.3.1 Device-end to PC

Device Connection 

Please connect the speaker or the MIC to the audio input port in the device rear panel. Then connect the earphone to the audio output port in the PC.

Login the Web and then click the Audio button to enable the bidirectional talk function. 

You can see the button becomes orange after you enabled the audio talk function. 

Click Audio button again to stop the bidirectional talk function. 

Listening Operation

At the device end, speak via the speaker or MIC, and then you can get the audio from the earphone or sound box at the pc-end.  

1.3.2 PC to the Device-end

Device Connection 

Connect the speaker or the MIC to the audio input port in the PC and then connect the earphone to the audio output port in the device rear panel.

Login the Web and then click the Audio button to enable the bidirectional talk function. 

You can see the button becomes orange after you enabled the audio talk function. 

Click Audio button again to stop the bidirectional talk function.  

Please note the listening operation is null during the bidirectional talk process.

Listening Operation

At the PC-end, speak via the speaker or MIC, and then you can get the audio from the earphone or sound box at the device-end.  

1.4 Alarm Setup 
Note: 

Some devices don’t support alarm function, which can’t be applied to this chapter. 
The alarm interface is shown as in Figure 1-3. .

[image: image8.png]IP camera

Camera Relay Activation
Network
Event

I~ Enable

Relayin
> Video Detect

> VS Analyse. Working Period

> Face Recognition Anti-Dither Second (0~100)  SensorType [NO
> Audio Detect

¥ Record

[TS— Record Del Second (10~300)

7
Storage ¥ Relay-out

Alam Delay Second (10~300)

system

Information I send Email

ez

I~ snapshot

Default Refiesh





Figure 1‑3 Alarm

The alarm input, output connection description: 
Step 1.Connect the alarm input device to the IN alarm input port on the rear panel I/O port.

Step 2.Connect the alarm output device to the NO alarm output port and C alarm output public    

port on the rear panel I/O port. The alarm output port supports NO (normal open) alarm device only. 

Step 3.Open the Web; go to the Figure 1-3. Here you can set the alarm input setup and alarm output setup. Here the alarm input is the alarm input on the rear panel I/O port (as IN port). Then you can select the corresponding type (NO/NC) according to the high/low level type when an alarm occurs. 

Step 4.Set the WEB alarm output. The alarm output 01 is the alarm output port of the device rear panel I/O port (as the NO port).

1.4.1 Alarm Input and Output Connection 

Please refer to the following figure for alarm input information. See Figure 1-4.
Alarm input: When the input signal is idle or grounded, the device can collect the different statuses of the alarm input port. When the input signal is connected to the 3.3V or is idle, the device collects the logic “1”. When the input signal is grounded, the device collects the logic “0”.

[image: image9.jpg]\'Alarm Input
L

GND

IPC

Collecting





Figure 1‑4 Alarm input

Please refer to the following figure for alarm output information. See Figure 1-5.
Port NO and Port C composes an on-off button to provide the alarm output. 

If the type is NO, this button is normal open. The button becomes on when there is an alarm output.

If the type is NC, this button is normal off. The button becomes off when there is an alarm output. 

[image: image10.jpg]IPC

ALM C
ALM NO





Figure 1‑5 Alarm output

1.4.2 IR Light Connection 

Note: 

· Device shall have external port for IR function.

· Log in Web, select Setup -> Camera -> Day&Night, and select sensor input. If it is not available, then you do need to set it. 

Please refer to the following figure for external IR light information. See Figure 1-6.

IR synchronization input signal. When the external IR light is on, the signal cable from the board outputs the 3.3V/1mA. It outputs the 0V when the IR light is off. 

[image: image11.jpg]GND

Signal Cable

IPC

Power Supplying to the IR Light




Figure 1‑6 IR light connection

2 Installation 

2.1 Lens Installation 
[image: image12.jpg]



Figure 2-1
2.1.1 Auto Aperture Lens Installation 
Step 1 

Remove the CCD protection cover on the device, aim the lens at the lens installation position, and turn the lens clockwise until it is installed firmly. 

Step 2 

Insert the lens cable plug into the connector of auto aperture lens on the camera side panel. 
Step 3 

Make the image clear via adjusting focal length. 

2.1.2  Manual Aperture Lens Installation 
Please follow the steps listed below for auto aperture lens installation. 
Step 1 

Remove the CCD protection cap of the device,
Step 2 

Install the C/CS adapter ring on the camera; turn clockwise to the end to cling to the focusing ring on the camera closely. (Only C lens needs to install adapter ring)
Step 3 

 Aim the C port lens at the lens installation position of the C/CS adapter ring (aim the CS port lens at the lens installation position of the camera focusing ring); turn the lens clockwise until it is firmly installed. 
Step 4 

Use slotted screwdriver to unfasten the screw near the focusing ring and then turn counter clockwise to move the focusing ring out for several millimeters.  Now you can focus manually and check the video is clear or not. If you can’t see the clear video, you can adjust back focus.

Step 5 

After you completed the focus setup, use the slotted screwdriver to fix the screw firmly. Fasten the focusing ring. Now the installation completed. 

2.2 SD Card/SD Card Installation 
[image: image13.jpg]



Figure 2-2 
Step 1 

Take down the SD card/4G card protection cover from the device. 

Step 2 

Install the SD card/4G card into the device according to the installation direction shown in Figure 2-2. 

Step 3 

Cover the SD card/4G card protection cover. 

Step 4 

Fix the SD card/4G card protection cover on the device. 

2.3 WIFI Antenna Installation 
[image: image14.png]



Figure 2-3 
Step 1 

Face screw on WIFI antenna toward bolt of port on rear panel. Rotate according to the figure 2-3 until the antenna is fixed in place. 
Step 2 
After WIFI antenna is fixed on WIFI port on rear panel, you can adjust direction of WIFI antenna according to actual need. 

2.4 I/O Port Application 
[image: image15.jpg]o

Slotted
Screwdriver

Cable





Figure 2-4
Install Cable: 
Step 1 
Use the small slotted screwdriver to press the corresponding button of cable groove. 
Step 2 

Insert the cable into the groove.

Step 3 

Release the screwdriver which presses the groove button and complete cable installation. 
3 Network Configuration 

The IP address of all the cameras is the same when leaving factory (default IP192.168.1.108), in order to make the camera get access to the network smoothly, please plan the useable IP segment reasonably according to the actual network environment. 

3.1 Modify IP Address 

IP address can be acquired and modified through quick configuration tool for the cameras which are accessed via wired network, it needs to connect wired network to configure wireless parameters before using wireless network cameras. In this chapter, it will introduce the approach of modifying IP address via “Quick Configuration Tool”; also you can modify the IP address in the network parameters of the WEB interface, please refer to the document in the disk << WEB Operation Manual>> for more details. 

Note: 

Currently the quick configuration tool only supports the cameras which apply to the same network segment with computer IP address. 

Step 1 Double click the “ConfigTools.exe” and open the quick configuration tool.

Step 2 Double click the device to be configured, the system will pop out the “Login” dialog box. Enter the IP address, user name, password and port number of the camera, and click “Confirm”.

Note: 

The default user name and password are admin and admin respectively, the default of port is

37777.  See Figure 3-1 for more details. 

[image: image16.jpg]'
X

QConf'gtool

(Qpetiesn)  (Gogin ) ( semng ) (Upsrade ) Find numberof devices: 34 | e | % Q

Subnet Mask

Gateway.

AE 1m26 s |mssasso0  |mason wossana | # @

s 722025 a0 |msass00  |mmsor  |soozesaronsa | 3 ©
s [@rone  Jieaseny w AT
e 2228 asiceen | 3 ©
s @ 1722025, adoress | 1722023 )
s 1722927 e basrcrias we
@ 224 e LU rasavaras | 3% ©
I 1722024 I E—— pasareszs | 45 ©
0 (@ 122925 e hsssavers | % ©
1 |@ e 1722023 ok ) (cancer ) b2:a9:05:40:38 *e
2 (@ 222 Sasaoa | 4 @
5 (@ 223 i |msassoo  |masor  |ovazaeserssa ne
P 1267 s |msasse0  |mmsen  |woasezmm | 4 ©
5 (@ m2280 s |msasso0 |mamor  |sozesmoer2 | 3% @
e mm28 s |msasso0  |mam01  |wozessazess | B ©
v (@ 292102 s |assasoo  |masos  |soassavere | %6 @





Figure 3-1 

Step 3 Modify the camera IP address on the “Net” interface, click “Save” to finish modification. 

See Figure 3-2 for more details. 

[image: image17.png]1P Version

1P Address

153

HrTP

upp.

17220234

1722001

2002:29:42:08:61

st

s77E

(1025 ~65532)





Figure 3-2 

3.2 Login WEB Interface 

Note: 

Different devices may have different WEB interfaces, the figures below are just for reference, please refer to the document <<WEB Operation Manual>> in the disk and the actual interface for more details

Step 1 Open IE and input the modified camera IP address in the address bar. 

Step 2 The login interface is shown below, please input your user name and password (Default user name is admin and password is admin respectively), click “login”.

See Figure 3-3 for more details. 

[image: image18.png][ |





Figure 3-3 

Step 3 Install controls according to the system prompt; see Figure 3-4 for the WEB main interface. Please modify the administrator password as soon as possible after you successfully logged in. 
[image: image19.png]IP Camera TS S e e e
r— ToP R >} ] @





Figure 3-4 

Note:
· This quick start guide is for reference only. 
· Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice. 
· If there is any uncertainty or controversy, please refer to the final explanation of us.
· Please visit our website or contact your local service engineer for more information.





















































































































































































PAGE  
iii

[image: image20.jpg]E E sl onTrRoL”




[image: image21.jpg]


