
Auto Tracking Speed Dome Web3.0 Operation Manual
Version 4.0.0
Table of Contents
11
Network Connection


11.1
Preparation


11.2
Log in


31.3
Live Interface


31.4
Encode Setup


41.5
Video Window Setup


51.6
System Menu


51.7
Video Window Function Option


61.8
PTZ Control


71.9
PTZ Setup/Menu


102
Setup


102.1
Camera


102.1.1
Video


152.1.2
Audio


162.2
IVS


162.2.1
Global Setup


172.2.2
Scene Setup


212.2.3
Rule Setup


312.2.4
Parameter


322.3
Network


322.3.1
TCP/IP


352.3.2
Connection


362.3.3
PPPoE


372.3.4
DDNS


382.3.5
IP filter


392.3.6
SMTP （e-mail）


412.3.7
UPnP


422.3.8
SNMP


442.3.9
Bonjour


452.3.10
Multicast


462.3.11
IEEE802


472.3.12
Qos


482.4
Event


482.4.1
Video detect


532.4.2
Alarm


552.4.3
Abnormity


582.5
Storage


582.5.1
Record schedule and snapshot schedule


582.5.2
Destination


602.5.3
Record control


612.6
System


612.6.1
General


642.6.2
Account


682.6.3
PTZ


692.6.4
Default


702.6.5
Import/Export


712.6.6
Auto maintenance


712.6.7
Firmware update


722.7
Information


722.7.1
Version


722.7.2
Log


732.7.3
Online User


753
Alarm


764
Log out




Important
· The following functions are for reference only. Some series products may not support all the functions listed below. 
· Usually we recommend IE 7 or higher version. For those versions below IE 7, it may not support the operation of some functions.
· If it is your first time to login the WEB on the WINDOWS 7 OS or higher, please login as the administrator. 

1 Network Connection 
1.1 Preparation 

This series speed dome product supports the Web access and management via PC.
Web includes several modules: monitor channel preview, PTZ control, system configuration, alarm and etc.
Please follow the steps listed below for network connection.

· Make sure the speed dome has connected to the network properly.

· Speed dome IP address and PC IP address shall be in the same network segment. If there is router, please set the corresponding gateway and subnet mask.

· Use order ping ***.***.***.***(* speed dome address) to check connection is OK or not. 

1.2 Log in 

Open IE and input speed dome address in the address bar. 

For example, if your device IP is 192.168.1.108, then please input http:// 192.168.1.108 in IE address bar. See Figure 1‑1.

[image: image115.png]Security Setting:

nternet Zone

Settings

O Disable
© Enable

9] Download signed ActiveX controls (not secure)
O Disable
© Enable (not secure)
O Prompt (recommended)

9] Download unsigned Active controls (not secure)
© Disable (recommended)
© Enable (not secure)
O Prompt

19 Intiaize and scrpt ActiveX contros ok merked as sae for s
O Disable (recommended)
© Enable (not secure)
O Prompt

4] Run ctiveX contros and pug-ins
3 bbb e

< I

*Takes effect after you restart Internet Explorer

Reset custom settings




[image: image1.png]GO - [ermmm el ()] oo oL

T @ne= T





Figure 1‑1 
The login interface is shown as below. See Figure 1‑2.

Please input your user name and password. 
Default factory name is admin and password is admin. 
Note: For security reasons, please modify your password after you first login.
[image: image2.png]N —





Figure 1‑2 

If it is your first time to login in, system pops up warning information to ask you whether install control webrec.cab or not. Please click OK button, system can automatically install the control. When system is upgrading, it can overwrite the previous Web too.
If you can’t download the ActiveX file, please check whether you have installed the plug-in to disable the control download. Or you can lower the IE security level. See Figure 1‑3.
[image: image3.png]Internet Options

General | Security |Privacy || Content | Connections | Programs | Advanced |

Select a zone to view or change security sektings.

@ ) v e

oot oca Tustedstes ¥
< ] 8
eret =
‘This zone is for Internet websites, =5
ks e ratios o
e

Security level for tis zone
Allowed levels For this zone: Medum ta Hih

Medium-high
- Appropriate for most websites

- Prompts before dowrloading potentialy unsafe
cantent.

~Unsigned Actve controls il not be downloaded

Custom level Default fevel

Reset all zones to defaul evel

m





Figure 1‑3
1.3 Live Interface 

After you logged in, you can see the live monitor window. Now you can operate the speed dome via the WEB. See Figure 1‑4. 
[image: image4.jpg]I
e
3
8
i





Figure 1‑4 
There are six sections:

· Section 1: Encode setup bar
· Section 2: Window adjust bar 
· Section 3: System menu  bar
· Section 4: Window function option bar
· Section 5: PTZ control 
· Section 6:PTZ setup/menu 
1.4 Encode Setup 

The encode setup interface is shown as in Figure 1‑5.

[image: image5.png]Protocal





Figure 1‑5 
Please refer to the following sheet for detailed information. 

	Parameter 
	Function 

	Main stream 
	In normal network width environment, main stream can record audio/video file and realize network monitor. 

	Sub (Extra) stream 
	If network width is not sufficient, you can use sub stream to realize network monitor. It is to reduce network bandwidth usage. 

	Protocol 
	You can select video monitor protocol from the dropdown list. 
There are three options: TCP/UDP/Multicast.


1.5 Video Window Setup  

The interface is shown as in Figure 1‑6.


[image: image6.png]



Figure 1‑6 
Please refer to the following sheet for detailed information. 
	SN
	Parameter
	Function 

	1
	Image control 
	Click it to open picture setup interface. See Figure 1‑7. This interface is on the top right pane. 

	2
	Original size 
	Click this button to go to original size. It is to display the actual size of the video. It depends on the resolution of the video. 

	3
	Full screen 
	Click it to go to full-screen mode.  Double click the mouse or click the Esc button to exit the full screen. 

	4
	Width and height ratio
	Click it to restore original ratio or suitable window. 


	5
	Open/close PTZ 
	Left click it to display or hide the PTZ control interface. 


The picture setup interface is shown as in Figure 1‑7.
[image: image7.png]



Figure 1‑7
Please refer to the following sheet for detailed information. 
	Parameter
	Function 

	Video setup 
	
[image: image8.png]



	Brightness setup icon. It is to adjust monitor video brightness. 
	Note:

· All the operations here apply to WEB end only.

· Please go to Setup->Camera->Conditions to adjust brightness, contrast, hue and saturation setup. 

	
	
[image: image9.png]



	Contrast setup icon. It is to adjust monitor video contrast ness.
	

	
	
[image: image10.png]



	Saturation setup icon. It is to adjust monitor video saturation.
	

	
	
[image: image11.png]



	Hue setup icon. It is to adjust monitor video hue.
	

	
	Reset
	Restore brightness, contrastness saturation and hue to system default setup. 
	


1.6 System Menu 

System menu is shown as in Figure 1‑8.
Please refer to chapter 1.3 Live, chapter 2 Setup, chapter 3 Alarm, chapter 5 Log out for detailed information.  

[image: image12.png](T YT T




Figure 1‑8 
1.7 Video Window Function Option 

The interface is shown as below. See Figure 1‑9.

[image: image13.jpg]



Figure 1‑9 

Please refer to the following sheet for detailed information. 
	SN
	Parameter
	Function 

	1/2
	Alarm output  
	Click it to generate an alarm output.  
There are two alarm output icons since this series product supports two relay output. 

Please note the alarm output interface may vary due to different series products. 

	3
	Digital zoom
	When video is in original status, click this button you can select any zone to zoom in.  After zoom in ,you can  drag the zoom in area  in the specified area. Right click mouse system restores original status. You can use the wheel to zoom out the video. 

	4
	Snapshot
	You can snapshoot important video. 

You can go to Setup->Camera->Video->Path to modify the local record save path.

	5
	Triple snap 
	Click it, system can snap at 1f/s for three times. All images are memorized in system storage folder.

	6
	Record
	When you click local record button, the system begins recording. 
You can go to Setup->Camera->Video->Path to modify the local record save path.

	7
	Manual Track 
	Click it and then left click the mouse and drag the mouse in the video window to select any zone, you can enable the speed dome to auto track the object in the specified area. 
Please note, you need to go to the Setup->IVS setup->Global setup interface to enable IVS auto track function. Otherwise, this function is null.

	8
	Audio output 
	Turn on or off audio when you are monitoring.
You can go to Setup->Camera->Audio to set. 

	9
	Bidirectional talk 
	Click it to begin audio talk. You can go to Setup->Camera->Audio to set bidirectional talk mode.

	10
	Help 
	Click it to open help file. 


1.8 PTZ Control 

Before PTZ operation, please make sure you have properly set PTZ protocol. (Please go to Setup->System->PTZ to set.).

Here you can view direction keys, speed, zoom, focus, iris button. See Figure 1‑10.
· PTZ direction: PTZ supports eight directions: left/right/up/down/upper left/upper right/bottom left/bottom right./fast positioning.
· Speed: The step 8 speed is faster than step 1. 

[image: image14.png]000
0®o
000
speear-cy R

Zoom

0 @
°-e




Figure 1‑10  
1.9 PTZ Setup/Menu 
The PTZ setup/Menu interface is shown as in Figure 1‑11.

[image: image15.png]FTZSetings  henu





Figure 1‑11  

Click PTZ set button, the interface is shown as in Figure 1‑12.Here you can set scan, preset, tour pattern, assistant function and etc. 
[image: image16.jpg]PTZGetings  Henu





Figure 1‑12 

Please refer to the following sheet for PTZ setup information. 

	Parameter 
	Function 

	Scan 
	· Click Setup button, you can set scan left and right limit. 

· Use direction buttons to move the camera to you desired location and then click left limit button. Then move the camera again and then click right limit button to set a right limit.

	Preset 
	· Input the preset value and then click Preset button, the camera turns to the corresponding position of the preset. 

· Click the Set preset button, you can set a preset. Use direction keys to move the camera to your desired location and then input preset value. Click add button, you have set one preset.

· The preset value varies due to different protocols.

	Tour 
	· Click the Setup button, you can begin set tour. 

· Input tour value and then click the Set button. The tour value ranges from 1 to 255. (It may vary due to different protocols.)

· Input preset value in the column. Click Add preset button, you have added one preset in the tour.

Note:

Repeat the above procedures you can add more presets in one tour.

Or you can click delete preset button to remove one preset from the tour.

	Pattern 
	You can input pattern value and then click start button to begin PTZ movement. Please go back to Figure 1‑10 to implement camera operation. Then you can click stop button in Figure 1‑12. Now you have set one pattern.

	Assistant 
	Please input the corresponding aux value here. 

You can select one option and then click AUX on or AUX off button.

	Light and wiper 
	You can turn on or turn off the light/wiper.

	Goto 
	It is the accurate positioning function. Please input corresponding horizontal angle, tilt angle, and speed dome zoom speed and then click Go to button to go to a specified position.  One unit of the horizontal angle or tile angle stands for 0.1 degree. 

	Rotation 
	Begin or stop speed dome rotation movement. 


The Menu button can control the OSD for detailed speed dome or PTZ setup. See Figure 1‑13.
[image: image17.png]FTZetings  Menu





Figure 1‑13 
2 Setup
2.1 Camera 
2.1.1 Video 
2.1.1.1 Video bit stream 

The video bit stream interface is shown as below. See Figure 2‑1.

[image: image18.png]WEB SERVICEso

Camera

> Audio
IVS Setup
Network
Event
Storage
system
Information

Video Snapshot

Main Stream Sub Stream

% Enable
Code-Stream

Code-Stream Type
Encode Hode

Encode Hode
Resolution

Resolution
Frame rate(FPS)

Frame rate(FPS)

f[osr ]

3584-8192Kb/S.

Bt Rate Tye

Bt Rate Tye
Reference Bit Rate

Reference Bit Rate
BitRate

BitRate
| Frame Interval

| Frame Interval
¥ Watermark Setings

Watermark Character | DigtalCCTV

Default Reffesh

General -

CBR -
112-840KDIS





Figure 2‑1
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Main stream 
	Bit stream type 
	It includes general stream, motion stream and alarm stream. You can select different encode frame rates for different recorded events. 
The frame rates of the motion detect and alarm is customized. 

	
	Encode mode 
	There are four options: H.264, H.264B, H.264H, and MJPEG encode mode.
· H.264 : Main Profile encode mode. 

· H.264B :Baseline Profile encode mode.

· H.264H: High Profile encode mode.

· MJPEG: In this encode mode, the video needs general large bit stream to guarantee the video definition. You can use the max bit stream value in the recommend bit to get the better video output effect.  

	
	Resolution 
	There are multiple resolutions. You can select from the dropdown list. 

For each resolution, the recommended bit stream value is different. 

	
	Frame Rate (FPS)
	PAL: 1～25f/s，NTSC: 1～30f/s.. 
The frame rate may vary due to different resolutions. 

	
	Bit Rate Type 
	There are two options: VBR and CBR. 

Please note, you can set video quality in VBR mode. 
In MJPEG mode, the bit stream control mode can only be CBR. 

	
	Recommended Bit 
	Recommended bit rate value according to the resolution and frame rate you have set. 

	
	Bit Rate 
	· In CBR, the bit rate here is a  fixed value.  
· It is the max value in VBR mode. 

	
	I Frame 
	Here you can set the P frame amount between two I frames. The value ranges from 1 to 150.  Default value is 50.

Recommended value is frame rate *2.
Important

I frame interval setup is null if it is the MJPEG encode mode.

	
	Watermark
	This function allows you to verify the video is tampered or not. 

The max length is 128-digit. The character can only include number, character, underline and hyphen. 

	Sub stream 
	Enable 
	Please check the box here to enable extra stream function.  
This function is enabled by default. 

	
	Bit stream type 
	General bit stream. 

	
	Encode mode 
	There are four options: H.264, H.264B, H.264H, and MJPEG encode mode.

· H.264 : Main Profile encode mode. 

· H.264B :Baseline Profile encode mode. H.264B is mainly for Blackberry cell phone to realize the monitor. You need to enable the sub stream function in your camera and set the resolution as CIF. Then you can monitor via the Blackberry cell phone.
· H.264H: High Profile encode mode. 
· MJPEG: In this encode mode, the video needs general large bit stream to guarantee the video definition. You can use the max bit stream value in the recommend bit to get the better video output effect.   

	
	Resolution 
	There are multiple resolutions. You can select from the dropdown list. 

For each resolution, the recommended bit stream value is different.

	
	Frame Rate (FPS)
	PAL: 1～25f/s，NTSC: 1～30f/s.. 
The frame rate may vary due to different resolutions. 

	
	Bit Rate Type 
	There are two options: VBR and CBR. 

Please note, you can set video quality in VBR mode. 

	
	Recommended Bit 
	Recommended bit rate value according to the resolution and frame rate you have set. 

	
	Bit Rate 
	· In CBR, the bit rate here is a max value. In dynamic video, system needs to lower frame rate or video quality to guarantee the value. 

· It is null in VBR mode. 

· Please refer to recommended bit rate for the detailed information.

	
	I Frame 
	Here you can set the P frame amount between two I frames. The value ranges from 1 to 150.  Default value is 50.

Recommended value is frame rate *2.
Important

I frame interval setup is null if it is the MJPEG encode mode.


2.1.1.2 Snapshot 
The snapshot interface is shown as in Figure 2‑2.
[image: image19.png]WEB SERVICEso

Camera Video Snapshot

Snapshot Type | General hd

Image Sizs
s setup image Size
S Qualty Sl
— Interval 15 -

Storage

Default Reffesh

system
Information





Figure 2‑2
Please refer to the following sheet for detailed information. 

	Parameter 
	Function 

	Snapshot type 
	There are two modes: general (schedule) and Event (activation).
General (schedule) snapshot is to snap in the specified period. 

Event (Activation) snapshot Is to snap when the motion detect, camera masking, local alarm event occurrence. 

If you want to use this function, please make sure:

· The event occurred during the specified period.

· Motion detect, video masking, local alarm and corresponding snap function are all enable. 

	Image size 
	It has relationship with the resolution of the main stream. 

	Quality 
	It is to set the image quality. There are six levels. 

	Interval 
	It is to set snapshot frequency. The value ranges from 1s to 7s. 


2.1.1.3 Video Overlay 
The video overlay interface is shown as in Figure 2‑3.
[image: image20.png]Camera Snapshot

| viceo | )
S . e
VS Setup

Bt e
] Mt
i

Network

Event

Storage

System

Information

Default Reffesh





Figure 2‑3
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Privacy mask
	· Here you can privacy mask the specified video in the monitor video. 

· System max supports 4 privacy mask zones.

	Time Title
	· You can enable this function so that system overlays time information in video window. 
· There is no time title if you do not enable this function here. 
· You can use the mouse to drag the time tile position. 

	Channel Title 
	· You can enable this function so that system overlays channel information in video window.
· There is no channel title if you do not enable this function here. 
· You can use the mouse to drag the channel tile position.

	Refresh 
	After you successfully set privacy mask zone, channel title, time title, you can click Refresh button to video the effect. 


2.1.1.4 Path 

The storage path interface is shown as in Figure 2‑4.
Here you can set snap image saved path ([image: image21.png]


 in the preview interface) and the record storage path ([image: image22.png]


 in the preview interface).The snap picture default setup is C:\PictureDownload and record file default setup is C:\RecordDownload. 
Please click the Save button to save current setup. 
[image: image23.png]WEB SERVICEso

Camera

> Audio

Snapshot Overtay

SnapshotPath |C Browse
IVS Setup

RecordPath | C Browse
Network

= Default

Storage
system
Information





Figure 2‑4
2.1.2 Audio 
The audio interface is shown as below. See Figure 2‑5.
Important 

Please make sure you have enabled the video function, otherwise you can not enable the audio function. 

[image: image24.png]WEB SERVICE=s:

Camera Audio
> video

Main Stream
IVS Setup I~ Enable
Network Encode Mode

Event

Storage

system

Information

Sub Stream

I Enable

Encode Hode

Default

Reffesh

e ]





Figure 2‑5
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Audio enable 
	· Main stream: Recorded file only contains video by default. You need to check the audio box here to enable audio function so that the main stream the network transmitted is audio/video composite stream. 
· Sub (Extra) stream: Recorded file only contains video by default. You need to check the audio box here to enable audio function so that the extra stream the network transmitted is audio/video composite stream. 

	Encode mode 
	The encode mode of the main stream and extra stream include PCM, G.711A and G.711Mu. 
The setup here is for audio encode mode and the bidirectional talk encode both. 


2.2 IVS

2.2.1 Global Setup 
The global setup interface is shown as in Figure 2‑6.

[image: image25.png]WEB SERVICEso

Camera Global Setup Scene Setup Rule Setup Parameter
IVS Setup

I —

Network ¥ 1VS Track Enable

Event Alarm Track Enable %
Storage
system
Information

Track Type ne Trac

Apply Scence

Dejiter Rate

Dejiter Enable

Reffesh





Figure 2‑6
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	IVS track enable
	Check the box here to enable this IVS function. 

	Alarm track enable 
	Check the box, system can enable auto track when the corresponding alarm occurred. 

The alarm output is still proper if you do not check the box here. System will not enable auto track when the corresponding alarm occurred 

	Track type 
	It includes: panorama track, single scene track and multiple-scene track. 

· Panorama track: Realize the intelligent track of current monitor video after you enabled the preview function. 

· Single scene track: Realize the intelligent track of one scene. 

· Multiple-scene track: It is to realize the intelligent track of several scenes and the scenes support tour function. 

	Track dealy 
	After system recognized the tracing object, it can delay a period of time to enable the alarm track. 
Please note it is for panorama track mode only. 

	Track time 
	You can set the track time after the alarm track is enabled. 

Please note it is for panorama track mode only.

	Appply scene 
	The default setup is normal. 

	De-jitter 
	Here you can set device de-jitter rate. 

	De-jitter enable 
	Check the box here to enable de-jitter module. 


2.2.2 Scene Setup 
The scene setup is shown as in Figure 2‑7.

[image: image26.png]Camera
IVS Setup
Network
Event
Storage
system
Information

Add Scene Scene Setup

Preview Scene

SetTrack Rate

lictun] ol
lictup] o]

{ictup] o]
lictup] o]





Figure 2‑7
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Add scene 
	Click it to add a scene. 

	Scene setup 
	Click it to set current monitor video as the corresponding scene and get a number. 

	Preview scene
	Click it to preview the selected scene. 

	Track time
	Here you can set the max track time for the moving object. 

	Zoom 
	Click 
[image: image27.png]


 to zoom in and click 
[image: image28.png]


 to zoom out. 

	Set track rate 
	You can select the rate via the zoom setup. Click [image: image29.png]WEB SERVICEso

Camera Global Setup
VS Setup

Network

Single Scene Track
Scene Name Track Time(s) Limit Track _ Delete
Scenet

Event Scene2

Storage Scene3
Scened
System

Scenes
Information

5
3
4
5
6

Scenes

Add Scene SceneSetup || Preview Scene

SetTrackRate

et o] {ueetal o]
(et o] (et o]

Reffesh




 button to set current rate as the initial track speed for selected scene. 

	PTZ
	Click PTZ button 
[image: image30.png]


 to adjust scene position.

	Speed 
	It is to set PTZ movement speed. The value ranges from 1 to 8. 

	Limit track 
	Check the box here to set limit track of current scene. You can use the PTZ to set the up/down/left/right limit of current scene.
The operation is similar to Scene setup and Preview scene.


2.2.2.1 Single Scene Track 
In Figure 2‑6, select the single scene track from the track type list, you can see the single scene track interface is shown as in Figure 2‑8.

Here you can select one item from the No. list to view one monitor scene. 

[image: image31.png]Camera
IVS Setup

:

4 Scene Name
Network 4 .

Event
Storage
system
Information

Preview Scene

lictun] ol
lictup] o]





Figure 2‑8
2.2.2.2 Multiple-scene track 

In Figure 2‑6, select the Multiple-scene track from the track type list, you can see the multiple-scene track interface is shown as in Figure 2‑9.
[image: image32.png]WEB SERVICEso

Camera
IVS Setup

Storage
system
Information

Global Setup

Add Scene

Scene Setup

Preview Scene

SetTrackRate

Speed5 |

Reffesh

lictun] ol
lictup] o]

{ictup] o]
lictup] o]





Figure 2‑9
In Figure 2‑9, click Add scene button you can set tour point during the scene tour process. Move the mouse to the Scene name list; you can select several scenes as a tour. Move the mouse to the Stay time, you can set stay time period. 
[image: image33.png]Camera
IVS Setup

Network
Event
Storage
system
Inform:

Add Path

Preview Scene

Reffesh

lictun] ol
lictup] o]

{ictup] o]
lictup] o]




Figure 2‑10
2.2.3 Rule Setup 

The rule setup interface is shown as in Figure 2‑11.
[image: image34.png]WEB SERVICEso

Camera Global Setup
IVS Setup

Network

Select Track Scene]

Event

Storage

Scene Setup Rule Setup

Tripwire
s Waming Zone

Scenet 3 Perimeter Protection

system
Information

Alarm Activation Setup

Parameter Setup
Object Type Supported

-

Detect Action List

I nAea [ Th

¥ TargetFilter
Hin i q

Direction
Max TargetNo.

Hin TargetNo.
Min Last Time

Reportnterval

Hax

Target Size Filter |ByLength

I

Reffesh





Figure 2‑11
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Select track scene. 
	You can select the scene from the dropdown list so that you can add the corresponding rule. 

	Add rule 
	Click it to add a rule to the selected scene. 

	Rule enable 
	Check the box here to enable the rule. 

	Rule name
	Move you mouse to the rule name column to set a name. 

	Rule type 
	Move you mouse to the Rule type column to set the rule type. The option includes: Tripwire/Cross warning zone/Perimeter protection/Loiter detection/Abandoned object detection/Missing object detection/Illegal parking/Fast Moving. 

	Draw rule 
	Click button [image: image35.jpg]


 to draw current rule. 

	Delete rule 
	Click button [image: image36.jpg]


 to delete current rule. 


2.2.3.1 Tripwire 
The tripwire interface is shown as in Figure 2‑12.

[image: image37.png]WEB SERVICEso

Camera Global Setup
IVS Setup

Network

Select Track Scene]

Event

Storage

Scene Setup Rule Setup Parameter

=]

Tripwire

system

Information

Parameter Setup
Object Type Supported

-
Direction

¥ TargetFilter
Hin Si Max Size

Target size ier [Biiengtn <]

Reffesh





Figure 2‑12
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Direction 
	It is to set tripwire direction. The option includes: A->B、B->A、A<->B. 

	Target filter
	Check the box here to enable this function and then click button [image: image38.png]|Draw|




，you can set the target filter model in this scene for this rule. Click the button [image: image39.png]|clear|




，you can remove selected target filter model. 


2.2.3.2 Cross Warning Zone 

The cross warning zone interface is shown as in Figure 2‑13.

[image: image40.png]WEB SERVICEso

Camera Global Setup
IVS Setup

Network
Event

Storage

Parameter

system
Information

Alarm Activation Setup

F

Parameter Setup
Object Type Supported

-

Detect Action List

I naea @ T

¥ TargetFilter
Hin Si q

Direction
Max TargetNo.

Hin TargetNo.
Min Last Time

Reportnterval

Hax i

Enter -

Target size ier [Biiengn <]

Reffesh





Figure 2‑13
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Detect action list 
	· In area: When the tracking object is in the detect zone and the stay time is more than the time threshold you set here, system can activate an alarm. 

· Through area: System can generate an alarm when the tracking object is crossing the limit you set here. 

	Direction 
	It is for the Through area option in the Detect action list item. It is to set the cross direction. The option includes: in/out/both (in&out)

	Max target No. 
	It is for the In area option in the Detect action list item. It is to set the alarm activation amount in the zone. System will not generate an alarm when the object amount in the zone is more than the threshold you set here. 

	Min target No. 
	It is for the In area option in the Detect action list item. It is to set the alarm activation amount in the zone. System will not generate an alarm when the object amount in the zone is less than the threshold you set here.

	Min last time 
	It is for the In area option in the Detect action list item. Here is to set the min time between the target in the zone and an alarm activation occurrence.  

	Report interval 
	It is for the In area option in the Detect action list item. It is to set alarm period. System just alarms once if the value is 0 here. 

	Target filter
	Check the box here to enable this function and then click button [image: image41.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image42.png]|clear|




，you can remove selected target filter model. 


2.2.3.3 Perimeter Protection 

The permiter protection interface is shown as in Figure 2‑14.

[image: image43.png]WEB SERVICEso

Camera Global Setup
IVS Setup

Network

Parameter

Event

Storage

system

Information

Parameter Setup
Object Type Supported
= Direction

¥ TargetFilter
Hin i q Hax

Target size ier [Biiengn <]

Reffesh





Figure 2‑14
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Direction 
	It is to set cross perimeter direction. The option includes: A->B、B->A、A<->B.

	Target filter
	Check the box here to enable this function and then click button [image: image44.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image45.png]|clear|




，you can remove selected target filter model. 


2.2.3.4 Loitering Detection

The lointering detection interface is shown as in Figure 2‑15.

[image: image46.png]WEB SERVICEso

Camera Global Setup.

Rule Setup Parameter

IVS Setup Select Track Scene|

Network
Event

Storage

Loitering Dete

system
Information

Parameter Setup
Object Type Supported

¥ TargetFilter
Hin i

Alam Actvation
No.(Person)

Min Last Time

Reportnterval

Max Size

Target Size Filter |ByLength

I

Reffesh





Figure 2‑15
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Alarm activation number (Person)
	Here you can set the alarm activation threshold. The default setup is 1. 

	Min last time 
	Here is to set the min time between the target in the zone and an alarm activation occurrence.  

	Report interval 
	It is to set alarm period. System just alarms once if the value is 0 here. 

	Target filter
	Check the box here to enable this function and then click button [image: image47.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image48.png]|clear|




，you can remove selected target filter model. 


2.2.3.5 Abandoned Object Detection 

The abandoned object detection interface is shown as in Figure 2‑16.

[image: image49.png]Camera
IVS Setup

Network
Event
Storage
system

Information

Parameter

Parameter Setup
Object Type Supported

-
Min LastTime |10

¥ TargetFilter
Hin Size q Hax

Target size ier [Biiengn <]

Reffesh





Figure 2‑16
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Min last time 
	It is to set the min time between the abandoned object occurrence and alarm activation. 

	Target filter
	Check the box here to enable this function and then click button [image: image50.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image51.png]|clear|




，you can remove selected target filter model. 


2.2.3.6 Missing Object Detection

The missing object detection interface is shown as below. See Figure 2‑17.

[image: image52.png]WEB SERVICEso

Camera Global Setup.

Scene Setup Parameter

IVS Setup Select Track Scene|

Network
Event

Storage

=]

system
Information T

Parameter Setup
Object Type Supported

-

¥ TargetFilter
Hin i

Min LastTime |10

Max Size

Target Size Filter |ByLength

I

Reffesh





Figure 2‑17
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Min last time 
	It is to set the min time between the missing object occurrence and alarm activation. 

	Target filter
	Check the box here to enable this function and then click button [image: image53.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image54.png]|clear|




，you can remove selected target filter model. 


2.2.3.7 Illegal Parking 

The illegal parking interface is shown as in Figure 2‑18.

[image: image55.png]Camera
IVS Setup

Network
Event
Storage
system

Information

Select Track Scene]

Global Setup

Scene Setup

Rule Setup

=]

Illegal Parking

Parameter

Area and Property Setup

Alarm Activation Setup

Paramet
ObjectTy

-

¥ Targe
Hin Size
Target S

ter Setup
ype Supported

Min Last Time

et Filter

50

ize Filter

Reffesh





Figure 2‑18
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Min last time 
	It is to set the min time between the illegal parking occurrence and alarm activation. 

	Target filter
	Check the box here to enable this function and then click button [image: image56.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image57.png]|clear|




，you can remove selected target filter model. 


2.2.3.8 Fastl Moving

The fast moving interface is shown as below. See Figure 2‑19.

[image: image58.png]WEB SERVICEso

Camera Global Setup Rule Setup Parameter
IVS Setup

Network

Select Track Scene]

FastHoving
Event

Storage

system
Information

Parameter Setup

Object Type Supported DetectType  [Fasthove <!
-
Sensitivy  LoW

Min LastTime |5

Actvation Speed 30

 Taroe iter
ins Warsize
Target size ier [Biiengtn <]

Reffesh





Figure 2‑19
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Object type supported 
	You can select an object type here. The default setup is unknown. 

	Detect type 
	It is to set detection type. The default setup is “Fast move”. The rule is to detect the fast moving object in the warning zone.  

	Sensitivity 
	Here you can set the alarm activation sensitivity. 

	Min last time 
	It is to set the min time between the object continuous movement and alarm activation. 

	Activation speed 
	It is to set the min speed here when an object can activate an alarm. 

	Target filter
	Check the box here to enable this function and then click button [image: image59.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image60.png]|clear|




，you can remove selected target filter model. 


2.2.3.9 Alarm Activation Setup 

Alarm activation setup is shown as in Figure 2‑20.

[image: image61.png]WEB SERVICEso

Camera
IVS Setup
ITE—
Network
Event
Storage
system

Information

Global Setup

¥ Scenet_1
~ net_:
v net_:

Area and Property Setup [N G

Rule Working Period Setup

Record

romon (W2

Send E-Mail

Snapshot

Reffesh





Figure 2‑20
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Rule Working period 
	Here you can set rule arm and disarm period. Please click the Setup button to set. 

	Record 
	Check the box here so that the device can record when alarm activation occurred. 

	Relay output 
	Check the box here so that the device can output an alarm when alarm activation occurred.

	Send e-mail 
	· Check the box here so that the device can send out an email when alarm activation occurred.
· Please note current function is null when the device is offline, or IP conflict occurred. 

	Snapshot 
	Check the box here so that the device can snapshot when alarm activation occurred.

	Copy 
	Select a rule name from the dropdown list and then click [image: image62.png]


 button, you can copy the alarm activation setup of current rule to the selected rule. 


2.2.4 Parameter 
The parameter interface is shown as in Figure 2‑21.

[image: image63.png]WEB SERVICEso

Camera Global Setup
IVS Setup

: 3 Detect Balance mpromise ode =
Network d
FLE Sensitiiy Low High
Event
o 23 Ant-Disturb Enable r
system
Information

Backlight Scene Enable r

Shadow Scene Enable
Target Filter

Hin Size

Target Size Filter |ByLength

d Detect Region| |Add Exclude Region|

Reffesh





Figure 2‑21
Please refer to the following sheet for detailed informaiton. 

	Parameter 
	Function 

	Scene 
	Please select a scene from the dropdown list you want to set. 

	Detect balance 
	There are three modes: compromise mode, omission detect less and error detect less. 

	Sensitivity 
	The level ranges from 1 to 10. The default setup is 5. The higher the sensitivity is, the easier for the device to detect the low contrast object and small object. At the same time, the error detect may become more. 

	Anti-disturbance mode 
	It is to control the random disturbance in the scene. 

	Backlight scene enable 
	Check the box here so that the device can have higher recognition capability in the backlight scene. 

	Shadow scene enable 
	Check the box here so that the device can have higher recognition capability in the shadow scene.

	Target filter
	Click button [image: image64.png]|Draw|




，you can set the target filter model in this scene. Click the button [image: image65.png]|clear|




，you can remove selected target filter model. 

	Add detect region 
	Click button [image: image66.png]


, you can draw a detection zone. 

	Add exclued region 
	Click button [image: image67.png]Add Exclude




，you can draw the privacy mask (shield) zone. 


2.3 Network 

2.3.1 TCP/IP

The TCP/IP interface is shown as in Figure 2‑22.
[image: image68.png]WEB SERVICEso

Camera TCPIIP
IVS Setup
Network

TCPIP. Ethemet Card Wire( DEFAULT) -

> Connection Hode @ staic © DHCP.

HostName IPDo

> PPPOE HAC Address

DDNS 1P Version

IP Filter. 1P Address
EIHERD) Subnet mask

L Defaut Gateway

SN Preferred DNS Senver

CEnty Altemate DNS Server

Multicast

¥ Enable ARF/Ping to setIP address service
IEEES02

Default Reffesh

Event
Storage
system
Information





Figure 2‑22
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Host Name 
	It is to set current host device name. 

	Ethernet Card
	Please select the Ethernet port if the device has several network cards. 

	Mode
	There are two modes: static mode and the DHCP mode. 

· The IP/subnet mask/gateway are null when you select the DHCP mode to auto search the IP. 

· If you select the static mode, you need to set the IP/subnet mask/gateway manually.

· Besides, IP/subnet mask/gateway and DHCP are read-only when the PPPoE dial is OK. 

	Mac Address 
	It is to display host Mac address. It is read-only. 

	IP Version 
	It is to select IP version. IPV4 or IPV6.
You can access the IP address of these two versions.
· Please note system needs to check the validity of all IPv6 addresses. The IP address and the default gateway shall be in the same IP section. That is to say, the specified length of the subnet prefix shall have the same string. 
· When PPPoE function is enabled, the IP/subnet mask/default gateway is read-only. You can not set or restore default setup.  

	IP Address 
	Please use the keyboard to input the corresponding number to modify the IP address and then set the corresponding subnet mask and the default gateway. 

	Default Gateway 
	It is the similar gateway of the IPv4. It shall not be left in blank. 

	Preferred DNS
	DNS IP address. It is the similar DNS of the IPv4. It shall not be left in blank.

	Alternate DNS 
	Alternate DNS IP address. It is the similar DNS of the IPv4. It shall not be left in blank.

	Enable ARP/Ping set device IP address service. 
	You can use ARP/Ping command to modify or set the device IP address if you know the device MAC address. 
Before the operation, please make sure the speed dome and the PC in the same LAN. This function is on by default. 

You can refer to the steps listed below. 
Step 1: Get an IP address. Set the speed dome and the PC in the same LAN.

Step 2: Get the physical address from the label of the speed dome.

Step 3: Go to the Run interface and then input the following commands. 

arp  –s  <IP Address>  <MAC>  

ping  –l  480  –t  <IP Address>
Such as：arp  -s  192.168.0.125  11-40-8c-18-10-11

ping  -l  480  -t  192.168.0.125

Step 4: Reboot the device. 

Step 5: You can see the setup is OK if you can see there are output information such as “Reply from 192.168.0.125 …” from the command output lines.  Now you can close the command line. 

Step 6: Open the browse and then input http://<IP  addres>. Click the Enter button, you can access now. 


2.3.2 Connection 
The connection interface is shown as in Figure 2‑23.

[image: image69.png]WEB SERVICEso

Camera Connection
IVS Setup
Network

> TcPIP

>

> PPPOE

> DDNS

> IPFilter

> SMTP(E-mail)
> UpnP

> snup

> Bonjour

> Mulcast

> IEEE802

> aos

Event
Storage
System
Information





Figure 2‑23
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Max connection 
	It is the max Web connection for the same device. The value ranges from 1 to 20. The default setup is 10.

	TCP port 
	The value ranges from 1025 to 65535. The default value is 37777. You can input the actual port number if necessary. 

	UDP port 
	The value ranges from 1025 to 65535. The default value is 37778. You can input the actual port number if necessary.

	HTTP port 
	The value ranges from 1025 to 65535. The default value is 80. You can input the actual port number if necessary.

	RTSP port
	· Usually, the default value is 554. You do not need to input again if you are using the default value. When you are using QuickTime (Apple browser) or VLC play real-time video, you can use the following format to play. The Blackberry also supports this function. 

· Real-time monitor bit stream Url format. Please specify the channel number, bit stream type in the Url if you are requesting real-time monitor bit stream Rtsp stream media service. You still need to provide user name or password if it has verification information. 

· When you are using Blackberry phone to access, the bit stream mode shall be H.264B, resolution is CIF and the audio shall be disabled. 
· The Url format is shown as below:
rtsp://username:password@ip:port/cam/realmonitor?channel=1&subtype=0
You need to input the following items manually. 

Username/password/IP/port/subtype. 

The IP is device IP and the port default value is 554. You can leave it in blank if it is the default value. The channel number begins with 1. 
subtype：bit stream type，main stream is 0（subtype=0）and extra stream is 1（subtype=1）.
You do not need to input the user name and password if you do not need  the verification. Such as:

Main stream：rtsp://ip:port/cam/realmonitor?channel=1&subtype=0

	HTTPS Enable  
	It is to enable HTTPs communication service control. If you enable this function, you can use https://ip:port to login the device. In data encryption protection mode, you can use https://ip to login if you are using the default port. 

	HTTPS Port 
	The HTTPs communication port value ranges from 1025 to 65535. 



Important

The value 0 to 1024 (excluding the default value of HTTP/RTSP/HTTPs), 1900, 3800, 5000, 5050, 9999, 37776, 37780-37880, 39999 and etc are the special ports value and they are not open for user to set. 
2.3.3 PPPoE

The PPPoE interface is shown as in Figure 2‑24.
Input the PPPoE user name and password you get from the IPS (internet service provider) and enable PPPoE function. Please save current setup and then reboot the device to get the setup activated. 

Device connects to the internet via PPPoE after reboot. You can get the IP address in the WAN from the IP address column.
PPPoE is set to connect to the internet. You can get an account from your IPS (Internet service provider), you can set here to dial to the interface. You can see the registered IP address in the interface if your setup is right. 
Please note, you need to go to the IP address item to view the device current device information. You can access the client-end via this address. 
[image: image70.png]el Sl [ ove [ sewr [ aam [ ogon |
Camera ®
VS Setup
Network

> IP Filter

> SMTP(E-mail)
> UpnP

> snup

> Bonjour

> Mulcast

> IEEE802

> aos
Event
Storage
System
Information




Figure 2‑24
2.3.4 DDNS
The DDNS interface is shown as in Figure 2‑25.
The DDNS is to set to connect the various servers so that you can access the system via the server. Please go to the corresponding service website to apply a domain name and then access the system via the domain. It works even your IP address has changes. 
[image: image71.png]WEB SERVICE=s:

Camera
IVS Setup
Network

> TcPIP

> Connection

> PPPOE

> IP Filter

> SMTP(E-mail)
> uPnP

> sNwp

> Bonjour

> Mulcast
> IEEE802

> aos
Event
Storage
System
Information




Figure 2‑25
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Server Type
	You can select DDNS protocol from the dropdown list and then enable DDNS function. 

	Server IP
	DDNS server IP address

	Server Port 
	DDNS server port.

	Domain Name 
	Your self-defined domain name.

	User 
	The user name you input to log in the server.

	Password
	The password you input to log in the server.

	Update period 
	· Device IP and service connection refresh period. 

· The default setup is 10 minutes. 


2.3.5 IP filter
The IP filter interface is shown as in Figure 2‑26.
You can enable IP filter function so that some specified IP user can access the speed dome. 
You can add IP address or IP address section. 

If you do not check the box here, it means there is on access limit. 
[image: image72.png]WEB SERVICEso

Camera IP Filter
IVS Setup
Network

I~ Trusted Sites

Trusted Sites.
> TCPIP

SNUP

Bonjour

Multicast

(== Default Refresh

Qos
Event
Storage
system
Information





Figure 2‑26
2.3.6 SMTP （e-mail）
The SMTP interface is shown as in Figure 2‑27.

[image: image73.png]WEB SERVICESs:

Camera
IVS Setup
Network

> TcPIP

> Connection
> PPROE

> DDNS

> IP Filter

UPnp
P
Bonjour
Mulicast
EEER02

Event
Storage
system
Information

SMTP(E-mail)

SMTP Server
Port
Anonymity
Usemame
Password

Sender

Authentication

Title

Wil Receiver

Interval

T Health Mail

[ Atischment

0 Second(0~3500)

Update Period

Email Test

Second (1-3600)

=l
=l

Default

Reffesh





Figure 2‑27
Please refer to the following sheet for detailed information.

	Parameter 
	Function 

	SMTP Server 
	Input server address and then enable this function. 

	Port 
	Default value is 25. You can modify it if necessary.

	Anonymity 
	For the server supports the anonymity function. You can auto login anonymously. You do not need to input the user name, password and the sender information.  

	User Name
	The user name of the sender email account.

	Password
	The password of sender email account.

	Sender
	Sender email address.


	Authentication (Encryption mode) 
	You can select SSL or none. 

	Title (Subject)
	Input email subject here. 

	Attachment 
	System can send out the email of the snapshot picture once you check the box here. 

	Mail receiver
	Input receiver email address here. Max three addresses.


	Interval 
	The send interval ranges from 0 to 3600 seconds. 0 means there is no interval.

Please note system will not send out the email immediately when the alarm occurs. When the alarm, motion detection or the abnormity event activates the email, system sends out the email according to the interval you specified here. This function is very useful when there are too many emails activated by the abnormity events, which may result in heavy load for the email server.

	Health mail enable 
	Please check the box here to enable this function. 

	Update period (interval) 
	This function allows the system to send out the test email to check the connection is OK or not. 

Please check the box to enable this function and then set the corresponding interval. 

System can send out the email regularly as you set here. 

	Email test 
	The system will automatically sent out an email once to test the connection is OK or not .Before the email test, please save the email setup information. 


2.3.7 UPnP
It allows you to establish the mapping relationship between the LAN and the public network.
Here you can also add, modify or remove UPnP item. See Figure 2‑28.

In the Windows OS, From Start->Control Panel->Add or remove programs. Click the “Add/Remove Windows Components” and then select the “Network Services” from the Windows Components Wizard. 
Click the Details button and then check the “Internet Gateway Device Discovery and Control client” and “UPnP User Interface”. Please click OK to begin installation. 
Enable UPnP from the Web. If your UPnP is enabled in the Windows OS, the speed dome can auto detect it via the “My Network Places”
[image: image74.png]LiiRs s [ v [ sew [ aam | iosow ]
Camera ®
VS Setup
Network

> SMTP(E-mail)

> sNwp
> Bonjour
> Multicast
> IEEE802

> aos
Event
Storage
System
Information




Figure 2‑28
2.3.8 SNMP
The SNMP interface is shown as in Figure 2‑29.
The SNMP allows the communication between the network management work station software and the proxy of the managed device. Please install the software such as MG MibBrowser 8.0c software or establish the SNMP service before you use this function. You need to reboot the device to activate the new setup. 
[image: image75.png]WEB SERVICEso

Camera
IVS Setup
Network

nunity

> Tceme
> Connection 1
> PPPOE
> DDNS
> P Filter
> SMTP(E-mail)

> uPnP

> Bonjour
> Mulcast

> IEEE802

> aos
Event
Storage
System
Information





Figure 2‑29
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	SNMP Port 
	The listening port of the proxy program of the device. It is a UDP port not a TCP port. The value ranges from 1 to 65535. The default value is 161

	Read Community 
	It is a string. It is a command between the manage process and the proxy process. It defined the authentication, access control and the management relationship between one proxy and one group of the managers. Please make sure the device and the proxy are the same. 
The read community will read all the objects the SNMP supported in the specified name. The default setup is public.

	Write Community 
	It is a string. It is a command between the manage process and the proxy process. It defined the authentication, access control and the management relationship between one proxy and one group of the managers. Please make sure the device and the proxy are the same. 

The read community will read/write/access all the objects the SNMP supported in the specified name. The default setup is write.

	Trap address
	The destination address of the Trap information from the proxy program of the device. 



	Trap port 
	The destination port of the Trap information from the proxy program of the device. It is for the gateway device and the client-end PC in the LAN to exchange the information. It is a non-protocol connection port. It has no effect on the network applications. It is a UDP port not TCP port. The value ranges from 1 to 165535. The default value is 162.

	SNMP version 
	· Check SNMP v1, system only processes the information of V1.
· Check SNMP v2, system only processes the information of V2.

· Check SNMP v3, you can set account and password. You need to set the corresponding account and password for security verification when the server wants to access the device. At the same time, the V1 and V2 option is null.  


2.3.9 Bonjour
The Bonjour interface is shown as below. See Figure 2‑30.

Bonjour is based on the multicast DNS service from the Apple. The Bonjour device can automatically broadcast its service information and listen to the service information from other device.
You can use the browse of the Bonjour service in the same LAN to search the speed dome device and then access if you do not know the speed dome information such as IP address.  
You can view the server name when the speed dome is detected by the Bonjour. Please note the safari browse support this function. Click the “Display All Bookmarks: and open the Bonjour, system can auto detect the speed dome of the Bonjour function in the LAN. 
[image: image76.png]WEB SERVICE=s«

Camera Bonjour
IVS Setup
Network

> TcPIP

> Connection
> PPPOE

> DDNS

> IPFilter

> SMTP(E-mail)
> UpnP

> snup

> Mulcast
> IEEE802

> aos
Event
Storage
System
Information





Figure 2‑30
2.3.10 Multicast
The multicast interface is shown as in Figure 2‑31.
Multicast is a transmission mode of data packet. When there is multiple-host to receive the same data packet, multiple-cast is the best option to reduce the broad width and the CPU load.  The source host can just send out one data to transit. This function also depends on the relationship of the group member and group of the outer. 
Here you can set multicast address and port. You also need to go to Live interface to set the protocol as Multicast. 
[image: image77.png]WEB SERVICE=s«

Camera Multicast
IVS Setup
Network

> TcPIP

> Connection
> PPPOE

> DDNS

> IPFilter

> SMTP(E-mail)
> UpnP

> snup

> Bonjour

> IEEE802
> aos
Event
Storage
System
Information





Figure 2‑31
2.3.11 IEEE802
IEEE802.1X works standing for local and metropolitan area networks and port based network access control protocol. It supports manual operation of the client to choose means of authenticating by which to control it to access to the Local Area Networks or not. It supports the ability to authenticate, to calculate fee, to ensure security and to maintain requirements. See Figure 2‑32.

[image: image78.png]WEB SERVICEso

Camera IEEE802
IVS Setup
Network

> TcPIP

> Connection
> PPPOE

> DDNS

> IPFilter

> SMTP(E-mail)
> UpnP

> snup

> Bonjour

> Mulicast

>

> aos

Event
Storage
System
Information





Figure 2‑32
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Authentication
	PEAP (protected EAP protocol).  

	Username
	It needs the username to login, which is authenticated by the server.

	Password
	Please input password here. 


2.3.12 Qos

The QoS interface is shown as below. See Figure 2‑33.
Qos (Quality of Service) is network security mechanism. It is a technology to fix the network delay and jam problem and etc. For the network service, the quality of service includes the transmission bandwidth, delay, the packet loss and etc. We can guarantee the transmission bandwidth, lower the delay, and reduce the loss of the data packet and anti-dither to enhance the quality. 
We can set the DSCP (Differentiated Services Code Point) of the IP to distinguish the data packet so that the router or the hub can provide different services for various data packets. It can select the different queues according to the priority of the packets and select the bandwidth of the each queue. It can also discard at the different ratio when the broad bandwidth is jam.
[image: image79.png]el Sl [ ove [ sewr [ aam [ ogon |
Camera ®
VS Setup
Network

> DDNS

> IPFilter
> SMTP(E-mail)
> UpnP

> snup

> Bonjour

> Mulcast

> IEEE802

>

Event
Storage
System
Information




Figure 2‑33
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Real-time monitor 
	The data packet of the network video monitor.  

	Command 
	The non-monitor packet such as device setup and search. 


2.4 Event 

2.4.1 Video detect

2.4.1.1 Motion Detect 
The motion detect interface is shown as in Figure 2‑34.
[image: image80.png]WEB SERVICEso

Camera
IVS Setup
Network
Event

> Mam
> Abnormality
Storage
system
Information

Motion Detect
I Enable
orking Period

Anti-Dither

Area
Record
Record Delay
Relay-out
Alarm Delay
Send E-Mail
PTZ

Snapshot

Video Masking

Second(0~100)  Sensitivity

Second(10~300)

Second(10~300)

Default

Reffesh





Figure 2‑34
[image: image81.png]Working Period 8

0 12 14 16 18 20 22

Wednesday

Thursday @
=5 Lo ]
ety o]

oAl 7 Sunday [~ Monday |~ Tuesday [~ Wednesday [~ Thursday I~ Friday |~ Saturday

¥ Period 1
I Period2
I Period 3
I Period &
I Periods;
s | 0w - 2w |

[see J[ cae |





Figure 2‑35
[image: image82.png]



Figure 2‑36
Please refer to the following sheet for detailed information. 
	Parameter
	Function 

	Enable 
	You need to check the box to enable motion detection function. 

	Sensitivity 
	There are six levels. The sixth level has the highest sensitivity.

	Region 
	· There are six levels.  The sixth level has the highest sensitivity.

· Region: If you select motion detection type, you can click this button to set motion detection zone.  The light blue zones are the valid motion detect area. All area are the valid motion detect zone by default. You can use mouse to set invalid area.  
· Do remember clicking OK button to save your motion detection zone setup.

	Working Period 
	· Motion detection function becomes activated in the specified periods. See Figure 2‑35.
· There are six periods in one day. Please draw a circle to enable corresponding period.

· Select date. If you do not select, current setup applies to today only. You can select all week column to apply to the whole week.

· Click OK button, system goes back to motion detection interface; please click save button to exit.

	Anti-dither
	System only memorizes one event during the anti-dither period. The value ranges from 0s to 100s.

	Relay out
	Enable alarm activation function. You need to select alarm output port so that system can activate corresponding alarm device when alarm occurs.  
Please note the relay output number here is for reference only. The alarm output number may vary due to different series products.

	Alarm Delay
	System can delay the alarm output for specified time after motion detect alarm ended. The value ranges from 10s to 300s. 

	Record channel
	System auto activates motion detection channel to record once motion detect alarm occurs (working with motion detection function). Please note you need to go to Storage-> Schedule to set motion detect record period and go to Storage->Record control to set current channel as auto record.

	Record Delay 
	System can delay the record for specified time after motion detect alarm ended. The value ranges from 10s to 300s.

	Send Email 
	If you enabled this function, System can send out email to alert you when alarm occurs and ends.

	PTZ 
	· Here you can set PTZ movement when alarm occurs. Such as go to preset x when there is an alarm.
· The event type includes: preset, tour and pattern and etc. 

	Snapshot 
	It is snapshot activation function.


2.4.1.2 Video Masking 
The video masking interface is shown as in Figure 2‑37.

[image: image83.png]WEB SERVICE=s:

Camera Motion Detect Video Masking

IVS Setup ™ Enable
Network

Working Period
Event “

Record
> Alarm Record Delay Second(10~300)
> Abnormality o
Storage )
system

Information

Alarm Delay Second(10~300)

Send E-Mail
P1Z

Snapshot

Default Reffesh





Figure 2‑37
Please refer to the following sheet for detailed information. 
	Parameter
	Function 

	Enable 
	You need to check the box to enable video masking function. 

	Sensitivity 
	There are six levels. The sixth level has the highest sensitivity.

	Working Period 
	· Video masking function becomes activated in the specified periods. 

· There are six periods in one day. Please draw a circle to enable corresponding period.

· Select date. If you do not select, current setup applies to today only. You can select all week column to apply to the whole week.

· Click OK button, system goes back to motion detection interface; please click save button to exit.

	Anti-dither
	System only memorizes one event during the anti-dither period. The value ranges from 0s to 100s.

	Relay out
	Enable alarm activation function. You need to select alarm output port so that system can activate corresponding alarm device when video masking alarm occurs.  
Please note the relay output number here is for reference only. The alarm output number may vary due to different series products.

	Alarm Delay 
	System can delay the alarm output for specified time after video masking alarm ended. The value ranges from 10s to 300s. 

	Record channel
	System auto activates motion detection channel to record once video masking alarm occurs (working with motion detection function). Please note you need to go to Storage-> Schedule to set motion detect record period and go to Storage->Record control to set current channel as auto record.

	Record Delay 
	System can delay the record for specified time after video masking alarm ended. The value ranges from 10s to 300s.

	Email 
	If you enabled this function, System can send out email to alert you when alarm occurs.

	PTZ 
	· Here you can set PTZ movement when alarm occurs. Such as go to preset x when there is an alarm.
· The event type includes: preset, tour and pattern and etc. 

	Snapshot 
	It is snapshot activation function. 


2.4.2 Alarm 
2.4.2.1 Alarm activation 

The alarm activation interface is shown as in Figure 2‑38.

[image: image84.png]WEB SERVICEso

Camera Relay Activation Relay-out
IVS Setup
Network

I Enable

— Relayin

> Video Detect Working Period

> Abnomality

. Record

GEEm Record Del Second(10~300)

Information Relaj-out

Alarm Delay Second(10~300)

Send E-Mail
P1Z

Snapshot

Default Reffesh





Figure 2‑38
Please refer to the following sheet for detailed information. 
	Parameter
	Function 

	Enable 
	You need to check the box to enable this function. 

	Working Period 
	· This function becomes activated in the specified periods. 

· There are six periods in one day. Please draw a circle to enable corresponding period.

· Select date. If you do not select, current setup applies to today only. You can select all week column to apply to the whole week.

· Click OK button, system goes back to motion detection interface; please click save button to exit.

	Anti-dither
	System only memorizes one event during the anti-dither period. The value ranges from 0s to 100s.

	Sensor type 
	There are two options: NO/NC. From NO to NC, system enables alarm. From NC to NO, system disables alarm. 

	Relay out
	· Enable alarm activation function. You need to select alarm output port so that system can activate corresponding alarm device when alarm occurs.  
· Please note the relay output number here is for reference only. The alarm output number may vary due to different series products.

	Alarm Delay
	System can delay the alarm output for specified time after alarm ended. The value ranges from 10s to 300s. 

	Record Channel
	System auto activates motion detection channel to record once alarm occurs (working with motion detection function). Please note you need to go to Storage-> Schedule to set current channel as general record.

	Record Delay
	System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s.

	Send Email 
	If you enabled this function, System can send out email to alert you when alarm occurs and ends.

	PTZ 
	· Here you can set PTZ movement when alarm occurs. Such as go to preset x when there is an alarm.
· The event type includes: preset, tour and pattern. 

	Snapshot 
	You need to input capture channel number so that system can backup motion detection snapshot file.


2.4.2.2 Relay output 

The relay output interface is shown as in Figure 2‑39.
[image: image85.png]2 Sl [ ove [ sewr [ aam [ ogon |
[©)

Camera Activation Relay-out
IVS Setup
Network

Event

> Video Detect

>

> Abnormality
Storage
System
Information




Figure 2‑39
Please refer to the following sheet for detailed information. 

	Parameter 
	Function 

	Alarm output
	There are two output channels. Please click the corresponding button. If you want to enable the alarm activation output function, please press the corresponding button and then trigger. 

Please note the interface here is for reference only. The alarm output number may vary due to different series products. 

	Trigger 
	When the alarm output channel is open, the output port can immediately output an alarm once it occurred. 

	Refresh 
	Refresh alarm output status. 


2.4.3 Abnormity

It includes five statuses: No SD card, capacity warning, SD card error, and disconnection and IP conflict. There are two interfaces for you reference. See Figure 2‑40 through Figure 2‑44.
[image: image86.png]WEB SERVICE=s:

Camera No D Card Capacity Waming SD Card Error Disconnection 1P Conflict

IVS Setup

I Enable
Network
Eee ® Reayout [l 2

> Video Detect Alarm Delay | g Second(10~300)

B I Send E-Mail

mal

Default Reffesh

storage
system
Information





Figure 2‑40
[image: image87.png]WEB SERVICESs:

Camera No SD Card Capacity Warning SD Card Error Disconnection 1P Conflict

IVS Setup
Network
Event

Enable

Capacity Limit

> Video Detect
P Alarm Delay Second(10-300)

senasta

storage

Default Reffesh

system
Information





Figure 2‑41
[image: image88.png]WEB SERVICEso

Camera No SD Card Capacity Waming SD Card Error Disconnection 1P Conflict

IVS Setup _—
nable

Network
Event F Reiavout  [l[2

> Video Detect Alarm Delay Second(10~300)

> Nam I~ SendE-Hail
Storage
system
Information





Figure 2‑42
[image: image89.png]WEB SERVICEso

Camera No SD Card Capacity Waming SD Card Error Disconnection 1P Conflict

IVS Setup
Network
Event

I Enable

Record

> Video Detect Record Delay Second(10~300)

> Aam reaout [l

Aomoeiar [10 secanai0-200
storage
system
Information

Default Reffesh





Figure 2‑43
[image: image90.png]WEB SERVICE=s:

Camera No SD Card Capacity Waming SD Card Error Disconnection IP Conflict

IVS Setup
Network
Event

I Enable

> Video Detect Second(10~300)

-
Storage
system
Information

Default Reffesh





Figure 2‑44
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Event Type 
	· The abnormal events include: no disk, no space, disk error, net error, offline, IP conflict. 
· You need to draw a circle to enable this function. 

	Record
	System auto activates channel to record once an alarm occurs (For offline type only. See Figure 2‑44. ). 
You need to check the box to enable this function. 

	Record Delay
	System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s.

	Relay Out
	The corresponding alarm output channel when alarm occurs. You need to check the box to enable this function. 

	Relay out Delay 
	The alarm output can delay for the specified time after alarm stops. The value ranges from 10s to 300s.

	Send email 
	If you enable this function, system can send out email to alarm the specified user. 


2.5 Storage 
2.5.1 Record schedule and snapshot schedule 
In these two interfaces, you can add or remove the schedule record/snapshot setup. See Figure 2‑45.
There are three record modes: general (auto), motion detect and alarm. There are six periods in one day. Please make sure you have enabled the corresponding record mode in the Setup->Storage->Conditions. 
You can view the current time period setup from the color bar. 

· Green color stands for the general record/snapshot.

· Yellow color stands for the motion detect record/snapshot.
· Red color stands for the alarm record/snapshot. 

[image: image91.png]WEB SERVICESs:

Camera Record Schedule
IVS Setup
Network
Event

Sunday
storage

> Destination

Honday

Tuesday

fednesday
> Record Control

G Thursday

Information Friday

Saturday

Default Reffesh





Figure 2‑45
2.5.2 Destination 

The destination interface is shown as in Figure 2‑46.

It is to set the storage mode of the speed dome record file or snapshot pictures. There are two options: local storagel/FTP. You can only select one mode. System can save according to the event types. It is corresponding to the three modes (general/motion/alarm) in the Schedule interface. Please check the box to enable the save functions. 
[image: image92.png]WEB SERVICEso

Camera Path
IVS Setup

Network
Event Event Type Motion Detect Event Type

Record Snapshot

Motion Detect

Storage Local ¥ Local ¥

> schedule FTP r FTP r

> Record Control
system
Information





Figure 2‑46
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Event Type 
	It includes: general, motion detect and alarm.  

	Local 
	It  is to save in the SD card. 

	FTP 
	It is to save in the FTP server. 


The local interface is shown as in Figure 2‑47. Here you can view local SD card information. You can also operate the read-only, write-only, hot swap and format operation. 
[image: image93.png]WEB SERVICEso

Camera

IVS Setup
Network
Event
Storage
system
Information

Free Capacity/Total Capacity

Read Only

Hot Swap

Reffesh

No SD Card





Figure 2‑47
The FTP interface is shown as in Figure 2‑48. You need to check the box to enable the FTP function. When network disconnect occurred or there is malfunction. Emergency storage can save the record/snapshot picture to the local SD card. 
[image: image94.png]WEB SERVICESs:

Camera

IVS Setup
Network
Event
Storage
system
Information

Enable
SeerlP
Port
UserName
Password

Remote directory

Emergency (Local)

Default

Reffesh





Figure 2‑48
2.5.3 Record control 
The record control interface is shown as in Figure 2‑49.
[image: image95.png]Camera Record Control

IVS Setup
Network

Pack Duration 3 Minute (1~120)

Pre-event Record Second (0

Event
Destination Full erwite -

Storage

Record Mode @ Automatic C Manual C Off

Record Stream [ I4ain Stream -

Default Reffesh

> Schedule

> Destination

system
Information





Figure 2‑49
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Pack Duration
	Here you can select file size. Default setup is 60 minutes.

	Pre-record 
	Please input pre-record value here. 

For example, you can input 4 here so that system can read the previous four seconds video before the alarm occurrence from the buffer and record the 4 seconds video in the file. 
Please note, if there is no record when alarm record or motion detect record occurred, system can record the N seconds’ video before the event occurrence in the file. 

	Disk Full
	There are two options: stop recording or overwrite the previous files when HDD is full.
· Stop: Current working HDD is overwriting or current HDD is full, it will stop record. 

· Overwrite: Current working HDD is full; it will overwrite the previous file.

	Record Mode 
	There are three modes: Auto/manual/close.  

	Record Bit Stream 
	You can select main stream or extra stream. 


2.6 System 
2.6.1 General 
The general interface includes the general setup and the date/time setup. 
2.6.1.1 General
The general interface is shown as in Figure 2‑50.
[image: image96.png]Camera
IVS Setup
Network
Event
Storage
System

>

> Account

> PTZSetings
> Default

> ImporExport
> Auto Maintain
> Upgrade
Information

General

DatesTime




Figure 2‑50
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Device Name
	It is to set device name. 

	Video Standard
	This is to display video standard.

	Language 
	You can select the language from the dropdown list. 
Please note the device needs to reboot to get the modification activated. 


2.6.1.2 Date and time 
The date and time interface is shown as in Figure 2‑51
[image: image97.png]WEB SERVICEso

Camera
IVS Setup
Network
Event
Storage
system

ne
> Account
> PTZSetings.
> Default
> ImportExport
> Auto Maintain
> Upgrade
Information

General

Date Format
Time Format
Time Zone

Current Time

DSTEnable
DST
Start Time

End Time

Port

Date&Time

Update Period [f Hinute(0~30)

Default

Reffesh





Figure 2‑51
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Date format
	Here you can select date format from the dropdown list.

	Time Format
	There are two options: 24-H and 12-H.


	Time zone 
	The time zone of the device. 



	System time 
	It is to set system time. It becomes valid after you set. 

	Sync PC
	You can click this button to save the system time as your PC current time. 

	DST
	Here you can set day night save time begin time and end time. You can set according to the date format or according to the week format. 

	NTP  
	You can check the box to enable NTP function.  

	NTP server 
	You can set the time server address. 

	Port 
	It is to set the time server port. 

	Update period 
	It is to set the sync periods between the device and the time server. 
The update function is null if the value is 0. 


2.6.2 Account 
Note:
· For the character in the following user name or the user group name, system max supports 6-digits. The space in the front or at the end of the string is null. The valid string includes: character, number, and underline. 

· The max user amount is 20 and the max group amount is 8. You can add or delete user group. 

· The factory default setup includes two levels: user and admin. .User management adopts group/user modes. The user name and the group name shall be unique. One user shall be included in only one group. 
2.6.2.1 User name 
In this interface you can add/remove user and modify user name. See Figure 2‑52.
[image: image98.png]WEB SERVICEso

Camera

IVS Setup
Network
Event
Storage
system
Information

Account

User Name.

admin
838888

admin ‘s account
888888 account
nt

Authority List
Playback Record control
Log Search ClearLog
Schedule/Destination Network
DefaultimportExport Conditions

Backup F1Z Account
Upgrade

Abnormality

Auto Maintain
Video Detect

General
PTZ Settings

Add User





Figure 2‑52
Add user: It is to add a name to group and set the user rights. See Figure 2‑53.
Here you can input the user name and password and then select one group for current user. 
Please note the user rights shall not exceed the group right setup. 

For convenient setup, please make sure the general user has the lower rights setup than the admin. 

[image: image99.png]Add User

UserName

Password
Confrm Password
Group

Remark

Authority List

save Cancel





Figure 2‑53
Modify user 
It is to modify the user property, belonging group, password and rights. See Figure 2‑54.
Modify password 
It is to modify the user password. You need to input the old password and then input the new password twice to confirm the new setup. Please click the OK button to save. 

For the user of the account rights, he can modify the password of other users. 

[image: image100.png]Modify User

UserName admin -

W fidify Password
Old Password
New Password

Confirm Password

Group.

Remark
Authority List " Al

7 Live
7 Playback

7 Record control
7 Backup

W P12

save.

Cancel





Figure 2‑54
2.6.2.2 Group
The group management interface can add/remove group, modify group password and etc. 

The interface is shown as in Figure 2‑55.

[image: image101.png]WEB SERVICEso

Camera Account
IVS Setup
Network

User Name

Event
i oaad] user group
System

> General

> PTZ Settings

> Default

> Import/Export

> Auto Maintain

> Upgrade

Informat Authority List
Live Playback Recordcontrol  Backup Pz o

Alam Log Search ClearLog Upgrade Auto Maintain General
Video/Audio Schedule/Destination Network Abnormality Video Detect FTZ Setings
DefaultimportExport Conditions

Add Group.





Figure 2‑55
Add group: It is to add group and set its corresponding rights. See Figure 2‑57.
Please input the group name and then check the box to select the corresponding rights. It includes: live playback, record control, backup, PTZ control, user management and etc. 
[image: image102.png]Add Group

Group.

Remark

Authority List Al
I~ Live
I~ Playback
I~ Record control
I~ Backup
[mlard

save.

Cancel





Figure 2‑56
Modify group 

Click the modify group button, you can see an interface is shown as in Figure 2‑57.

Here you can modify group information such as remarks and rights. 
[image: image103.png]Modify Group

Group. admin -

Remark administrator group
Authority List P Al

W Live
¥ Playback

¥ Record control
¥ Backup

W P12

save Cancel





Figure 2‑57
2.6.3 PTZ 
The PTZ interface includes two interfaces. 

2.6.3.1 Network PTZ 
The network PTZ interface is shown as in Figure 2‑58.

[image: image104.png]2 Sl [ ove [ sewr [ aam [ ogon |

Camera
IVS Setup
Network
Event
Storage

System
> General

> Account

>

> Default

> ImporExport
> Auto Maintain
> Upgrade
Information





Figure 2‑58
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Protocol
	Select the corresponding dome protocol.


2.6.3.2 Analog PTZ Setting
The analog PTZ setting interface is shown as in Figure 2‑59.
[image: image105.png]LiiRs s [ v [ sew [ aam | iosow ]
« [©)

Camera
IVS Setup
Network
Event
Storage
System

> General
> Account
>

> Default

> ImportExport
> Auto Maintain
> Upgrade

Information




Figure 2‑59
Please refer to the following sheet for detailed information.
	Parameter 
	Function 

	Address
	Set the software address you can control the device via the RS485 BUS. Default value is 1. 

	Baud Rate
	Set the baud rate you can control the device via the RS485 BUS. Default setup is 9600.

	Data Bit 
	Display data bit value.

	Stop bit 
	Display stop bit value. 

	Parity 
	Set the parity you can control the device via the RS485 BUS. 


2.6.4 Default 

The default setup interface is shown as in Figure 2‑60.

Please note system can not restore some information such as network IP address.
[image: image106.png]WEB SERVICER T TR ST T
@

Information




Figure 2‑60
2.6.5 Import/Export 

The interface is shown as in Figure 2‑61.
[image: image107.png]WEB SERVICEso

Camera Import/Export
IVS Setup
Network
Event
Storage
System

> General

> Account

> PTZSetings
> Default

>

> Auto Maintain
> Upgrade
Information





Figure 2‑61
Please refer to the following sheet for detailed information. 
	Parameter 
	Function 

	Import
	It is to import the local setup files to the system.

	Export 
	It is to export the corresponding system setup to your local PC. 



2.6.6 Auto maintenance 
The auto maintenance interface is shown as in Figure 2‑62.
Here you can select auto reboot and auto delete old files interval from the dropdown list.
If you want to use the auto delete old files function, you need to set the file period. 
[image: image108.png]Camera
IVS Setup
Network
Event
Storage
System

> General

> Account

> PTZSetings
> Default

> ImportExport

> Upgrade
Information





Figure 2‑62
2.6.7 Firmware update
The firmware interface is shown as in Figure 2‑63.
Please select the upgrade file and then click the update button to begin firmware update. 

Important

Do not turn off the device power, disconnect the device, reboot or shutdown the device during the update period. 

Please reboot the device if you update the improper program, otherwise some function module of the device may become null!
[image: image109.png]WEB SERVICE=s:

(TR ST (T Ar—
@

Camera Upgrade
IVS Setup
Network
Event
Storage
System

> General
> Account
> PTZ Sefiings
> Defaut
> ImportExport
> Auto Maintain

Information




Figure 2‑63
2.7 Information 
2.7.1 Version 
The version interface is shown as in Figure 2‑64.
Here you can view system software version, WEB version, release date and etc. Please note the following information is for reference only. 
[image: image110.png]Camera
IVS Setup
Network
Event
Storage
System
Information
>

> Log

> Online User

Version

3.0000.0R  build

201




Figure 2‑64
2.7.2 Log 

Here you can view system log. See Figure 2‑65.

[image: image111.png]WEB SERVICEso

Camera
IVS Setup
Network
Event
Storage
system
Information

> Version

> Online User

Log

StartTime 2012

pe [A1

End Time 2012 -

Detailed Information

4« 111D B GoTo

®

Clear





Figure 2‑65
Please refer to the following sheet for log parameter information. 
	Parameter 
	Function 

	Type
	Log types include: system operation, configuration operation, data operation, alarm event, record operation, and user management, log clear.

	Start time
	Set the start time of the requested log.

	End time
	Set the end time of the requested log.

	Search 

	You can select log type from the drop down list and then click search button to view the list.
You can click the stop button to terminate current search operation. 

	Detailed information 
	You can select one item to view the detailed information.

	Clear
	You can click this button to delete all displayed log files. 

	Backup 
	You can click this button to backup log files to current PC.


2.7.3 Online User

The online user interface is shown as in Figure 2‑66,

Here you can view online user name, group name, IP address and login time. 
[image: image112.png]WEB SERVICEso

Camera Online User

VS Setup User Loca Group
Network
Event
Storage
system
Information

> Version

Reffesh





Figure 2‑66
3 Alarm
Click alarm function, you can see an interface is shown as in Figure 3‑1.

Here you can set device alarm type and alarm sound setup. When the specified alarm occurred (you have subscribed), system can record the corresponding alarm information on the right pane of the alarm list. 
[image: image113.png]WEB SERVICEso

Alarm Type

% Hotion Detect % DiskFull

¥ Disk Error % Video Masking
I™ Exernal Alarm

Operation

I~ Prompt

Alarm Tone

W iy Al Toe

Tone Path Browse.





Figure 3‑1  

Please refer to the following sheet for detailed information. 

	Type 
	Parameter 
	Function 

	Alarm type 
	Motion detect 
	System alarms when motion detection alarm occurs,

	
	Disk full
	System alarms when disk is full.

	
	HDD malfunction
	System generates an alarm when HDD is malfunction.

	
	Camera masking 
	System alarms when camera is viciously masking. 

	
	External alarm 
	Alarm input device sends out alarm. 

	Operation 
	Prompt 
	System automatically pops up alarm dialogue box. 

	Alarm audio 
	Audio 
	When alarm occurs, system auto generates alarm audio. The audio supports customized setup. 

	
	Path 
	Here you can specify alarm sound file. 


4 Log out

Click log out button, system goes back to log in interface. See Figure 4‑1.
You need to input user name and password to login again. 
[image: image114.png]" http://10:15.5°64: BOBE/ = Windows Interner Explorer = -‘

- I





Figure 4‑1
Note:
· This manual is for reference only. Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice.
· All trademarks and registered trademarks are the properties of their respective owners. 
· If there is any uncertainty or controversy, please refer to the final explanation of us.

· Please visit our website for more information.
Input your IP address here





























1      2          3          4          5            6














PAGE  
iii

_1380970326

_1380970349

_1395129158

_1395129594

_1395129138

_1380970338

_1380970309

